## Slide 1
Training Material
(Confidential)
© 2024 InBody Confidential and Proprietary
1

## Slide 2
What is Body Composition
Various Methods for body composition analysis
2

## Slide 3
What is body composition
Why is body composition important?
InBody Basics
3

## Slide 4
CONTENTS
01
What is body composition?
Why do we need body composition
Body Composition Analysis Methods
02
03
4

## Slide 5
What is Body Composition?
Definition
5

## Slide 6
What is being “Healthy”?
“Healthy”
✓ Status free from diseases
✓ Physically, mentally, socially well being
✓ Maintaining internal homeostasis
from external environments
“Diabetes”
6

## Slide 7
Body Composition
[Body Composition]
Body Composition is the components that make up the body weight such as body water,
protein, minerals and fat.
[5 Levels of body component models]
Basic
2C Model
(2 Component)
Chemical
4C Model
(4 Component)
7

## Slide 8
Body Composition
[5 Levels of body component models]
① Whole Body Level
② Functional Level (Tissue-System)
8

## Slide 9
Body Composition
[5 Levels of body component models]
③ Cellular Level
④ Molecular / Chemical Level
Chemical
9

## Slide 10
Body Composition
[5 Levels of body component models]
⑤ Atomic Level
Among the body component levels
when analyzing the body composition.
uses the Chemical / Molecular Level
10

## Slide 11
Body Composition
[Relationship between body components]
4C Model
(4 component)
2C Model
(2 component)

Weight = FFM(Fat Free Mass) + Fat

FFM = Soft Lean Mass + Osseous mineral

Soft Lean Mass = Total Body Water + Protein + Non-osseous mineral

TBW = ECW(Extracellular Water) + ICW(Intracellular Water)

ECF = Plasma + Interstitial Fluid
Fluid components in the blood (excluding RBC, WBC etc..)
11

## Slide 12
Body Composition
Chemical (Molecular) level of body composition analysis
divides body into four; body water, protein, mineral and body fat by chemical classification.
InBody uses the chemical level when dividing the body composition.
Body composition
has to be maintained as constant proportion as each of body composition has different roles and
functions.
If
this balance between each of body composition is lost,
diseases such as obesity, edema, malnutrition, osteoporosis can occur.
Balance of Body Composition =
Health
[InBody and Body Composition]
12

## Slide 13
Body Composition
1. Health Indicators: A healthy body composition,
typically characterized by a lower percentage of body fat and
higher percentage of
lean mass,
is associated with a reduced risk of
chronic diseases such as heart disease,
diabetes, and certain cancers.
2. Physical Performance: Athletes and individuals who are physically active often monitor their body composition
to optimize performance. Higher muscle mass and lower fat mass can enhance strength, endurance, and agility.
3. Metabolic Rate: Muscle tissue burns more calories at rest compared to fat tissue.
Therefore,
having a higher
muscle mass can boost your metabolism, making it easier to maintain or lose weight.
4. Functionality and Mobility: A favorable body composition can improve mobility and functional
ability, making
everyday activities easier and reducing the risk of injury.
5. Aesthetic Goals: Many people monitor their body composition for aesthetic reasons. Achieving a desired body
composition can improve self-esteem and body image.
6. Aging: As people age, they naturally lose muscle mass and may gain fat. Monitoring and maintaining a healthy
body composition can help mitigate the effects of aging, such as decreased mobility and increased risk of falls.
[Importance of Body Composition]
13

## Slide 14
Body Composition
1.
Indicator of Obesity and Related Risks:
High body fat percentage,
especially visceral
fat,
is associated with
increased risk of obesity-related diseases such as type 2 diabetes, cardiovascular disease, and hypertension.
2. Nutritional Status: Body composition measurements can help assess whether an individual is undernourished or
overnourished, providing critical information for dietary and health interventions.
3. Muscle Mass and Sarcopenia: Low muscle mass is a marker for sarcopenia, a condition common in older adults
that leads to loss of strength and function. It can also indicate malnutrition and frailty.
4. Metabolic Health: Lean body mass,
particularly muscle mass,
is closely related to metabolic rate and overall
metabolic health. A higher muscle-to-fat ratio generally indicates better metabolic health.
5. Bone Density: Components of body composition assessments, such as bone density scans (DEXA), can serve as
biomarkers for osteoporosis and fracture risk.
6.
Inflammatory and Chronic Diseases: Changes in body composition,
such as increased fat mass or decreased
muscle mass, can be biomarkers for chronic inflammatory diseases, cachexia in cancer patients, and other chronic
conditions.
7.
Response to Treatment:
Monitoring changes
in body composition can help assess
the effectiveness
of
interventions, such as diet, exercise, or medical treatments for various conditions.
[Body Composition can serve as a biomarker]
14

## Slide 15
Why do we need Body Composition?
Limitations of Basic Methods
15

## Slide 16
Why do we need Body Composition?
[Basic methods for tracking the body health]
Looks?
Weight?
BMI?
Are these methods accurate?
16

## Slide 17
Why so we need Body Composition?
A
B
178cm, 85kg
BMI 26.8
[Limitations of the Basic methods]
17

## Slide 18
Body Composition
[Values] Checking body composition is important for several reasons, particularly in the context
of health, fitness, and medical diagnostics:
1.Health Assessment:
Body composition analysis can provide a clearer picture of health than traditional
methods like BMI
(Body Mass Index),
which does not distinguish between muscle and fat.
Knowing the
proportions
of
fat,
muscle,
and bone in the body helps
to assess
risks
associated with obesity or
underweight conditions such as cardiovascular diseases, diabetes, and other health issues.
2.Monitoring Fitness:
For
those engaged in fitness
or
athletic
programs,
tracking changes
in body
composition can be more informative than just monitoring weight. It helps in assessing the effectiveness of
exercise regimes and nutritional plans by showing changes in muscle mass and body fat levels over time.
3.Tailored Health Recommendations: With detailed knowledge of a person’s body composition, healthcare
providers can offer more personalized recommendations regarding diet,
exercise,
and lifestyle based on
specific health needs and goals.
4.Disease Risk Assessment:
Excessive body fat,
especially visceral
fat around the abdominal
region,
is
linked to higher risks of various diseases,
including type 2 diabetes,
hypertension,
and certain types of
cancer. Regular monitoring of body composition can help in early detection and prevention strategies.
5.Aging and Sarcopenia: As people age, they naturally lose muscle mass, a condition known as sarcopenia.
Regular checks can help in early identification and management through appropriate interventions like
resistance training and protein supplementation.
6.Weight Management: For individuals trying to lose weight or maintain weight loss, understanding body
composition changes can be motivational
and informative, guiding them to adjust their diet and exercise
plans for better results.
18

## Slide 19
Body Composition Analysis
Various body composition methods
19

## Slide 20
Body Composition Analysis Methods
[Skin Fold Measurement]
O
ne of the anthropometric methods used for measuring body fat is the skinfold test. It is also known as pinch test. As the name implies,
this method involves pinching the subcutaneous fat layer with fingers and measuring the thickness using a caliper. Using the principle that
approximately 50% of all body fat is stored as subcutaneous fat, the subcutaneous fat layer of triceps, abdominal, thigh, etc. is pinched at the
epidermal layer and the thickness is measured using a caliper, readings of which is substituted into a set formula for calculation of body fat.
The subcutaneous fat layer thickness is substituted to the Jackson-Pollock formula for calculating body density and substituted to the Siri
or Brozek formula for calculating Percent Body Fat.
1) Percent Body Fat by Brozek formula (%) = (457 - body density) - 414
2) Percent Body Fat by Siri formula (%) = (4.95 / body density - 4.50) x100
Advantages are the calipers easily portable, and measurement is simple and inexpensive. However, this method involves estimating the total
Percent Body Fat based on subcutaneous fat. Although a large portion of body fat is found as subcutaneous fat, the measurement may not
be accurate for people whose body fat distributions vary.
Also,
measurement is difficult if the subcutaneous fat layer thickness is 5 cm or
more and reproducibility of the result varies greatly depending on the skills of the measurer. For the elderly, accurate measurement is not
possible due to the aging and slacking of the skin. Different references are used for ethnicity, gender and age. Scholars also differ on their
views of this method.
20

## Slide 21
Body Composition Analysis Methods
A
dvantages
Quick
Relatively inexpensive, widely available
D
isadvantages
Large predictive error means change should really be assessed based on raw measure changes
Provides only body fat measure, no other outputs
Requires professional experience and practice to increases consistency
Repeated measures have errors
Not ideal for extremely lean/obese
[Skin Fold Measurement]
21

## Slide 22
Body Composition Analysis Methods
[Underwater Weighing]
U
nder water weighing is a method that calculates the total body fat by density of the body. It was first invented by Behnke, in 1942
based on Archimedes’ principle.
When an object is submerged in water, the difference between the mass of the object in the air and its mass in water is the object’s
volume
Body density =
𝑀𝑎𝑠𝑠
𝑎𝑖𝑟
𝑀𝑎𝑠𝑠
𝑎𝑖𝑟
−𝑀𝑎𝑠𝑠
𝑤𝑎𝑡𝑒𝑟
Taking a two-compartment model, under water weighing assumes that the human body is divided into fat-free mass and body fat mass.
It uses Archimedes’ principle based on the fact that the density of body fat (0.9g/cc) is lower than the density of fat-free mass (1.1g/cc).
In other words, since the low-density body fat floats on water and the high-density muscle sinks into water, the patient placed in the
water has low body density if he/she has high body fat ratio and has high body density if he/she has high muscle ratio.
22

## Slide 23
Body Composition Analysis Methods
[Underwater Weighing]
U
nder water weighing may be distorted by the air in the lungs (residual volume, RV) and gastrointestinal (GV) tract as well as the
temperature of the water,
which impacts the density of the water (D
water
).
In order to increase the accuracy of measures,
air
volume of the lungs and water temperature must be measured.
Body density =
𝑀𝑎𝑠𝑠
𝑎𝑖𝑟
𝑀𝑎𝑠𝑠
𝑎𝑖𝑟
−𝑀𝑎𝑠𝑠
𝑤𝑎𝑡𝑒𝑟
𝐷
𝑤𝑎𝑡𝑒𝑟
−(𝑅𝑉+𝐺𝑉)
Converting body density into body fat:
Under water weighing is regarded as the gold standard (not criterion measure) for body composition measurement as it is one of
the only body composition technologies that have been compared directly to cadaver analysis (on 3 normal BF, Caucasian males).
Despite the large potential for error, the test is very reliable for showing change (even if accurate BF change cannot be measured)
23

## Slide 24
Body Composition Analysis Methods
A
dvantages
Considered by many researchers as a gold standard for body fat quantification
D
isadvantages
Only provides PBF
Requires large equipment and space
Comfort level of participants (submerged in water, expending all gas from lungs)
Requires professional experience and practice to conduct test
Generally only performed at University research locations
Cost may be too high for equipment, simple body fat testing ($40-$100)
Water temperature and cleanliness must be controlled
[Underwater Weighing]
24

## Slide 25
Body Composition Analysis Methods
[DEXA; Dual Energy X-ray Absorptiometry]
D
EXA is an imaging method. It measures the body weight in terms of BMC, lean, and fat based on the decrement of X-ray on the images obtained by exposing to
two different X-rays. As illustrated in Figure 1, the patient is laid down with the X-ray emitter placed underneath and the X-ray decrement measuring device placed
above. With the patient lying down, photons of the X-ray beams of different energy levels scan the patient. It takes about 5 to 30 minutes.
When the x-ray photons collide with an object,
one of two things happen:
photons get reflected or energy gets absorbed.
Therefore,
as the photons travel
through an object, their energy level drops drastically. The loss of energy after passing through an object is proportional to the per-area weight of the object.
Therefore, if the energy level
of the x-ray is known and the attenuation coefficient of the object is known, the per-area weight of the object can be calculated.
However, since the human body is not made of a single substance but consists of the BMC, lean, and fat as illustrated in Figure 2, dual energy x-ray is used.
The ratio of the lower attenuation coefficient and the higher attenuation coefficient resulting from the two x-rays of different energy levels is called R-value, which
is in linear correlation with Percent Body Fat for soft tissues. Therefore, the per pixel R-value by penetrating two X-ray beams through the body can provide the
lean and fat ratios of a given tissue. A total of 12,000 pixels are used to calculate for the whole body.
As a standard method for body composition analysis,
DEXA has high accuracy along with Hydrodensitometry.
Its advantage is that it can measure the body
composition of bone density, body fat and muscle mass for different parts. The disadvantage is that installation and maintenance is costly. There is also a risk of
exposure to radiation,
though in small
quantities,
which makes it
difficult
to use on children,
pregnant
women or
elderly patients.
It
also often requires
experienced radiology personnel.
25

## Slide 26
Body Composition Analysis Methods
[DEXA; Dual Energy X-ray Absorptiometry]
26

## Slide 27
Body Composition Analysis Methods
[DEXA; Dual Energy X-ray Absorptiometry]
A
dvantages
Gold standard for Fat free mass, Fat mass, Bone mineral contents
Segmental measurement is possible
D
isadvantages
Requires large equipment and space (Radiology unit / radiation shield unit)
Radiation exposure
Cost may be too high for equipment (over $100,000)
Frequent measurement is difficult, and limitations measuring children, Pregnant population and elderly
27

## Slide 28
Body Composition Analysis Methods
[CT; Computed Tomography]
W
hen an X-ray beam rotates around a section of measurement, a clearer image of total tissue area, total fat and muscle area,
and thickness and volume of tissues within an organ can be created. This is performed by taking a 2-dimensional
slice (Greek:
tomos) of the human body by taking continuous pictures at different positions as the scanner rotates around the body. These
slices can be combined to create a 3-dimensional
volume measurement. A fluid injection may be used to differentiate specific
areas of interest.
CT is considered a very promising method of composition assessment, particularly for the quantification of skeletal muscle mass
and fat (visceral/subcutaneous). Full-body assessment, however, is laborious, time-consuming, and expensive. CT also exposes
individuals to high levels of radiation and therefore its use should be limited, restricting CT’s ability to be used as a long-term
body composition measure.
Generally,
only a section of
the thigh or a section of
the trunk is measured to predict body composition.
Studies have
confirmed that single or multiple pictorial
“slices” of the abdominal
region are highly correlated with composition measures
including body fat percent but using multiple slices affords greater accuracy.
28

## Slide 29
Body Composition Analysis Methods
A
dvantages
Considered the gold standard body composition measure for SMM and fat (primarily visceral)
Provides an image/area of visceral and subcutaneous fat
D
isadvantages
Often utilizes a single-slice technique of trunk or arm to predict whole body composition
-Multiple slices significantly reduce error but are too time consuming/expensive
Predicts visceral fat from single slice (image at L4-L5) unless whole trunk is measured
Often highly expensive, time consuming to perform whole body scans
Scanning equipment is high cost
Exposes individuals to high doses of radiation (greater than DEXA)
Frequent measurement is difficult and limitation in certain populations (Pregnant population..)
[CT; Computed Tomography]
29

## Slide 30
Body Composition Analysis Methods
[MRI; Magnetic Resonance Imaging]
M
agnetic resonance is a form of imaging technique where the body water may be mapped (but not quantified). Hydrogen atoms are electrically charged
and “spin around themselves,” creating an electro-magnetic field. When applying an external magnetic field the protons will align along the magnetic field.
Since atomic nuclei can behave like magnets, the external magnetic field aligns the nuclei, which are then activated by a radio frequency wave. Once the
radio wave is turned off, the activated nuclei will emit the signal absorbed; the emitted signal is used to develop the images through the use of a computer.
This longitudinal
magnetization of body tissues allows for the an external
computer source to create images of the section of the body being examined
based on the intrinsic properties of different tissue forms.
MRI is considered to be the most accurate tool
for in vivo quantification of body composition. It is an ideal
evaluation tool
for measurement of skeletal
muscle mass and adipose tissue (and can divide adipose into visceral and subcutaneous depots).
A whole-body scan is time consuming (≈25-30min for scan,
≈3hr to analyze via computer software) and therefore segmental
(slices) scans are used to
predict whole-body values.
MRI’s use a high-strength magnet,
thus all
metal
must be removed.
Individuals with metallic chips,
materials,
surgical
clips,
artificial
joints/prosthetics,
pacemakers, metal implants, artificial heart valves, metallic cochlear implants, bullet fragments, or insulin pumps should not test. However, since there is
no ionizing radiation, this is a preferable option for many (elderly, children, etc.)
Size of subjects is also a significant limitation for MRI testing (often limited to 350-450lbs)
30

## Slide 31
Body Composition Analysis Methods
A
dvantages
Considered the gold standard body composition measure for SMM
Criterion measure for intra-abdominal fat, fat in liver and skeletal muscle
D
isadvantages
Exposes individuals to high strength magnets- cannot be performed if any metal implants, earrings, etc.
Scanning equipment is costly
Measurement duration can take up to 20-1hr, in cases 3hrs
[MRI; Magnetic Resonance Imaging]
31

## Slide 32
Body Composition Analysis Methods
[Dilution Method (Deuterium, Bromide)]
The D2 dilution method is carried out by consuming a water-like radioactive substance such as heavy water (D
2
O, deuterium) or tritium
into the body.
Heavy water is 1.1 times heavier than normal
water (H
2
O,
light water)
and is noted as the chemical
formula D
2
O.
H
(hydrogen) and D (deuterium) in H
2
O and D
2
O are isotopes, meaning that they are same atoms with different number of neutrons. Mass of
D is twice that of H.
About 4 hours later, when the injection is evenly spread throughout the body, the body fluid is examined for density of the injection for
measuring the total
body water. Heavy water has the same characteristics as water. It easily dissolves into the body fluid. And it can be
separated for measurement because it is an isotope of H
2
O.
When the patient drinks 100g of D
2
O, the D
2
O gets diluted in the body and spreads all throughout. After the body water (H
2
O) and heavy
water (D
2
O) are completely diluted for 4 hours, water (H
2
O+D
2
O) is extracted from saliva and H
2
O and D
2
O are separated using the mass
difference, and then the D
2
O concentration is obtained. Then, the D
2
O 100g and D
2
O concentrations are used for calculating total body
water (H
2
O).
Deuterium dilution (
2
H
2
O or D
2
O) -> TBW
Sodium bromide (NaBr) -> ECW
32

## Slide 33
Body Composition Analysis Methods
Deuterium dilution (
2
H
2
O or D
2
O) -> TBW
Sodium bromide (NaBr) -> ECW
A
dvantages
Gold standard body water measurement (TBW, ECW)
D
isadvantages
Dilution method takes a long time and requires an expert
Subject can not eat, drink any food and also can not go to the bathroom for at least 2-3 hours
Usually performed in research centers or certain hospitals
[Dilution Method (Deuterium, Bromide)]
33

## Slide 34
Body Composition Analysis Methods
[BIA; Bioelectrical Impedance Analysis]
1.5V
1.5V
Bioelectrical impedance analysis uses the difference in conductivity between body compositions. The BIA technology uses small alternating
currents through the body and measures the voltage and then analyze how much water we have in our body. Because the human body is
50-70% of water, the currents can easily flow through the body. In consequence, we know how much muscle we have.
A
dvantages
Fast, non-invasive, easy to use, inexpensive
34

## Slide 35
Thank you
Body Composition
35

## Slide 36
History of BIA & InBody Technology
All about BIA
36

## Slide 37
All about InBody
BIA & InBody Technology
InBody Basics
37

## Slide 38
CONTENTS
01
BIA Technology
History of BIA
InBodyTechnology
02
03
All about Bioimpedance
04
38

## Slide 39
BIA Technology
Basics
39

## Slide 40
What is BIA?
Grabbing an electrical device with wet hand is dangerous
since electricity flows through water well.
Based on this theory, InBody uses ‘Bio-Impedance
Analysis’ where a small electricity flow through the body,
and the resistance (impedance)is measured to calculate a
body composition of human body.
InBody is a Bioimpedance Analyzing device which measure Body Water,
Skeletal Muscle Mass, Body Fat, Segmental Muscle Mass and etc.
40

## Slide 41
What is BIA?
Relationship between Body Water and Impedance
Resistance of electrical flow = Impedance
1.5V
Electricity does not flow with FAT
Bulb is OFF
1.5V
Electricity flow with WATER
Bulb is ON
ON
Fat
Water
[Characteristics of Impedance]
41

## Slide 42
What is BIA?
Impedance and Body Water are inversely proportional.
BIA devices Use impedance to measure body water
Relationship between Body Water and Impedance
High Volume of Water
→
Current flows well
➔
Low Impedance
Low Volume of Water
→
Current does not
flows well
➔
High Impedance
[Characteristics of Impedance]
42

## Slide 43
What is BIA?
Electricity flows ‘well’
Narrow and long cylinder = Electricity does not flow well = High Impedance
Wide and Short cylinder = Electricity flows well = Low Impedance
Same amount of water, but
different impedance due to the
shape of the cylinder
[Characteristics of Impedance]
43

## Slide 44
What is BIA?
Impedance Index
[How do we measure Body Water? _ From impedance to body water]
44

## Slide 45
What is BIA?
TBW Volume
Fat Free Mass (FFM)
Fat Mass (FM)
Calculate TBW Volume from
Impedance Index(Height^2/Z)
FFM is constantly hydrated at about 73%
FFM = TBW/0.73
FM = Weight - FFM
Clinical Nutrition 23:1226-1243, 2004
[How do we measure other Body Composition? _ Impedance >TBW>FFM>FM]
45

## Slide 46
History of BIA
1969
Journal of Applied Physiology 27(4): 531-534, 1969
Dr. Hoffer:
Proved the relationship
between total body water and
bioimpedance
[Development of BIA devices]
46

## Slide 47
History of BIA
1969
Journal of Applied Physiology 27(4): 531-534, 1969
Dr. Hoffer:
Proved the relationship
between total body water and
bioimpedance
[Development of BIA devices]
47

## Slide 48
History of BIA
1
st
Commercialized
Impedance Meter
-Single-low frequency (50kHz)
-Measures right half of the body
1979
[Development of BIA devices]
48

## Slide 49
History of BIA
Limitation: Use of Empirical Data
To overcome the inaccuracy of
measurement, Age, Genders, and etc.
are used in equations
Research Group → High Accuracy
Other Groups
→ Low Accuracy
Thus, new equations are needed every
single time to improve accuracy.
1980’
[Development of BIA devices]
49

## Slide 50
History of BIA
1990
Deurenberg, P., van der Kooij, K., Evers, P., & Hulshof, T.
(1990). The American journal of clinical nutrition, 51(1), 3-6.
Limitation: Single Low Frequency
(50 kHz)
TBW
Extracellular Water
Intracellular Water
3:2
50kHz
50kHz
50kHz
[Development of BIA devices]
50

## Slide 51
History of BIA
Limitation: Unable to measure trunk impedance
27.56kg
799.5Ω
[Development of BIA devices]
1990
51

## Slide 52
History of BIA
Journal of American College of Nutrition 11:199-209 1990
Solutions:
1)
Segmental Measurement
2)
Multi-frequencies
3)
Separate measurement of intra-
and extra-cellular water
[Development of BIA devices]
1992
52

## Slide 53
History of BIA
World 1
st
8 point tactile
with DSM-BIA
1996
InBody
[Development of BIA devices]
53

## Slide 54
InBodyTechnology
4 Unique Technology
54

## Slide 55
InBodyTechnologies
55

## Slide 56
InBodyTechnologies
InBody Technology 1
: DSM-BIA
Conventional
56

## Slide 57
InBodyTechnologies
Conventional
Whole body
Impedance
Whole body
Lean mass
Trunk
Impedance
Trunk
Lean mass
5%
50%
If we do not measure the trunk separately, whole body muscle mass can be
over/underestimated according to body type
57

## Slide 58
InBodyTechnologies
Conventiona
l
Trunk has the biggest cross-sectional area in our body, so trunk impedance is the lowest
as 20-30Ω. But the trunk area occupies 50% of our body, so it has biggest amount of water
and muscle. This means although there is a big change in muscle or water, impedance
changes only 1-2Ω. If we don’t measure impedance separately, we cannot figure out the
change of body composition accurately.
Arm: 10g/1Ω
Leg: 50g/1Ω
Trunk: 1000g/1Ω
Different sensitivity
to muscle mass
58

## Slide 59
InBodyTechnologies
303 Ω
??kg
300 Ω
3kg
200 Ω
9.5kg
200 Ω
9.5kg
27 Ω
??kg
IF) Same whole body impedance, but with different distribution?
300 Ω
3kg
30 Ω
30kg
300 Ω
3kg
200 Ω
9.5kg
200 Ω
9.5kg
+ 3Ω
- 3 Ω
Whole body Impedance: [ 530Ω ]
“A”
“B”
If we measure whole body impedance using conventional devices that only
measures the right half of the body, this can happen…
2.97kg
33kg
59

## Slide 60
InBodyTechnologies
1.
Trunk has a ↓Length (L) and ↑ Cross Sectional Area (CSA) compared to arms & legs
2.
Therefore, trunk impedance is very low (general range of 10-40Ω)
3.
Trunk is approximately 50% of lean body mass
4.
A 1-2Ω difference in trunk impedance → large changes in LBM
Trunk lean mass
at 22 Ω
26kg
- 4 Ω
31kg
60

## Slide 61
InBodyTechnologies
Voltage is checked
from left thumb to right thumb
Currents flow from
Left palm, trunk to left leg
Left Arm Measurement;
Voltage is checked
from left thumb to left rear sole
Currents flow from
right palm to right front sole
Trunk Measurement;
61

## Slide 62
InBodyTechnologies
Intracellular Water
Extracellular Water
50kHz
InBody technology 2:
Multi-Frequency (1kHz - 1,000kHz)
Intracellular Water
Extracellular Water
1kHz
1000kHz
Conventional BIA use only 50kHz
(could not reflect ICW & ECW separately)
uses up to 6 Frequencies
Reflect Both ICW & ECW
Measure accurate amount of TBW
62

## Slide 63
InBodyTechnologies
1kHz ~ 1MHz Multi-Frequencies
-
Distinguish between ICW and ECW
+ Simultaneous Multi-Frequency Technology
InBody technology 2:
Multi-Frequency (1kHz - 1,000kHz)
63

## Slide 64
InBodyTechnologies
→
99% Reproducibility
Voltage measurement always start at the same point of wrist and ankle.
InBody technology 3:
8-Point Tactile Electrodes with Thumb Electrode
64

## Slide 65
InBodyTechnologies
Voltage
Measurement
Starts
Actual Voltage
measurement start
point
Voltage Electrodes
Current Electrodes
InBody technology 3:
8-Point Tactile Electrodes with Thumb Electrode
65

## Slide 66
InBodyTechnologies
•
Men have more muscles than women
•
Seniors have more fat mass, less lean mass than young people
•
As people get older,
the limbs get thinner and the trunk gets wider
•
People who work out frequently have more muscles
Age
Gender
Etc.
Impedance Portion
Empirical Estimations
: Variables based on common knowledge
accumulated throughout the time
InBody technology 4:
Excluding Empirical Estimation
66

## Slide 67
InBodyTechnologies
Impedance
portion
Age
Gender
Others
Impedance
portion
If empirical estimations already accounted for some portions of result,
The responsiveness of the measurement will be smaller.
In other words, change of the body is shown smaller than the actual body composition change.
InBody technology 4:
Excluding Empirical Estimation
67

## Slide 68
InBodyTechnologies
BIA vs. DEXA,
Attributed from Barry University
5
10
15
20
25
30
35
40
45
50
DEXA (6.1~44.3)
InBody720 (7.4~43.2)
Company A (5.8~34.7)
<Using Empirical Estimations>
MAX
MAX
MIN
MIN
Actual
Range
<Exclusion of Empirical Estimations>
Company A vs DEXA (N=148)
InBody technology 4:
Excluding Empirical Estimation
68

## Slide 69
InBodyTechnologies
male
female
InBody technology 4:
Excluding Empirical Estimation
69

## Slide 70
InBodyTechnologies
Female
Male
70

## Slide 71
Activity:
Prepare for 5 mins pitch how InBody technology has made
the BIA innovative.
(From limitations of Old BIA to Current times BIA)
71

## Slide 72
Everything you need to know to interpret InBody Results and to provide a
meaningful consultation to your customers.
THE INBODY
RESULT SHEET
THE PROFESSIONAL’S GUIDE TO
Austin Lee, InBody HQ
72

## Slide 73
73

## Slide 74
Introduction
Customer Information
•
ID
Use unique numbers
•
Height
Enter correct height
•
Age / Gender
Age and Gender does not affect result
Used for the standard range.
•
Test Date / Time
Data can be searched by date
Once measure under same ID, data is stored and shown as
cumulative graph.
74

## Slide 75
Introduction
75

## Slide 76
Total Body
Water
Introduction
Intracellular
Water
Extracellular
Water
62
38
Water inside the cell
membrane
Interstital
fluid
Blood
Plasma
76

## Slide 77
Protein
Total Body
Water
Introduction
Soft Lean Mass
(Muscle)
Intracellular
Water
Extracellular
Water
62
38
Water inside the cell
membrane
Interstitial
fluid
Blood
Plasma
77

## Slide 78
Protein
Total Body
Water
Soft Lean Mass
(Muscle)
Mineral
Introduction
Fat Free Mass
Intracellular
Water
Extracellular
Water
62
38
Water inside the cell
membrane
Interstitial
fluid
Blood
Plasma
78

## Slide 79
Protein
Introduction
Total Body
Water
Soft Lean Mass
(Muscle)
Mineral
Fat Free Mass
Fat Mass
Weight
Intracellular
Water
Extracellular
Water
62
38
Water inside the cell
membrane
Interstitial
fluid
Blood
Plasma
79

## Slide 80
Introduction
Total Body
Water
Soft Lean Mass
(Muscle)
Mineral
Fat Mass
80

## Slide 81
CHAPTER 3 - Water
CHAPTER 1 - Fat
CHAPTER 2 - Muscle
CHAPTER 4 – Other Parameters
81

## Slide 82
CHAPTER 3 - Water
CHAPTER 1 - Fat
CHAPTER 2 - Muscle
CHAPTER 4 – Other Parameters
82

## Slide 83
Ideal
Developed
•
Balanced Muslce & Fat
•
Normal and Healthy
•
Muscle < Fat
•
Sarcopenia, Skinny obese body
•
Muscle > Fat
•
Muscular, athletic people
Cautious
•
Check body balance with C D I
•
Muscle should be at least 90%, Fat should be…
•
Muscle

= Target weight

, InBody Score

1. Check Body Type - Muscle-Fat Analysis
83

## Slide 84
Weight
SMM
Body Fat
▼
▬
▲
Underweight and weak
Weight
SMM
Body Fat
Standard weight but weak
Weight
SMM
Body Fat
Underweight but strong
9 types of Body Shape
Skinny
Standard
Overweight
Healthy
Obese and Weak
Strong
▼
▬
▲
Strong and Obese
Weak and Obese
Strong
▼
▬
▲
1. Check Body Type - Muscle-Fat Analysis
84

## Slide 85
85

## Slide 86
86

## Slide 87
87

## Slide 88
BMI vs PBF
Looks normal,
In fact, obese
Looks obese,
In fact, muscular
Appearance
Real Fat
2. Check Obesity – Percent Body Fat
(Female)
(Male)
88

## Slide 89
BMI vs PBF
For women, the healthy range is between 18-28%
For men, the healthy range is between 10-20%
2. Check Obesity – Percent Body Fat
89

## Slide 90
Visceral Fat
: Fat between the organs
Subcutaneous Fat
: Fat beneath the skin
Visceral Fat
Obesity
Subcutaneous Fat
Obesity
3. Evaluate Abdominal Fat – Visceral Fat, Waist-Hip Ratio
90

## Slide 91
91

## Slide 92
3. Evaluate Abdominal Fat – Visceral Fat, Waist-Hip Ratio
•
Visceral Fat Area (VFA) is the cross-sectional area of visceral fat
•
shows your level
Compare it with 1) cut off value – 100cm
2
and 2) Your age group
My age
My
VFA
Average
92

## Slide 93
3. Evaluate Abdominal Fat – Visceral Fat, Waist-Hip Ratio
•
Visceral Fat Area (VFA) is the cross-sectional area of visceral fat
•
shows your level
Compare it with 1) cut off value – 100cm
2
and 2) Your age group
93

## Slide 94
3. Evaluate Abdominal Fat – Visceral Fat, Waist-Hip Ratio
VFA
~19
20-29
30-39
40-49
50-59
60-69
70-79
80-89
90-99
100-109
110-119
120-129
130-139
140-149
150-159
160-169
170-179
180-189
190-199
200~
VFL
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
•
Converted VFA
•
The Ratio between waist circumference to hip circumference
•
Cut off value for men is 0.90 and women is 0.85
•
Visceral Fat Area (VFA) is the cross-sectional area of visceral fat
•
shows your level
Compare it with 1) cut off value – 100cm
2
and 2) Your age group
94

## Slide 95
3. Evaluate Abdominal Fat – Visceral Fat, Waist-Hip Ratio
Low Subcutaneous & Visceral Fat
Subcutaneoous Fat Obesity
Visceral Fat Obesity
①
②
③
95

## Slide 96
CHAPTER 3 - Water
CHAPTER 1 - Fat
CHAPTER 2 - Muscle
CHAPTER 4 – Other Parameters
96

## Slide 97
How to read Segmental Lean Analysis
Types of Muscle Mass
Smooth Muscle
Cardiac Muscle
Skeletal Muscle
97

## Slide 98
How to read Segmental Lean Analysis
Segmental Lean Analysis
InBody270, 370S
InBody770, 570
98

## Slide 99
How to read Segmental Lean Analysis
Segmental Lean Analysis
InBody270, 370S
InBody770, 570
How much muscle you have?
99

## Slide 100
How to read Segmental Lean Analysis
Segmental Lean Analysis
InBody270, 370S
InBody770, 570
Is it enough?
100

## Slide 101
How to read Segmental Lean Analysis
Segmental Lean Analysis
InBody270, 370S
InBody770, 570
What’s the normal range?
- Arms: 80~120%
- Legs & Trunk: 90~110%
101

## Slide 102
How to read Segmental Lean Analysis
Segmental Lean Analysis
102

## Slide 103
How to read Segmental Lean Analysis
Segmental Lean Analysis
103

## Slide 104
How to read Segmental Lean Analysis
Segmental Lean Analysis
Height 177cm
Age 25
104

## Slide 105
How to read Segmental Lean Analysis
Segmental Lean Analysis
Height 168cm
Age 26
Overweight
Strong and Obese
Weak and Obese
Strong
▼
▬
▲
105

## Slide 106
How to read Segmental Lean Analysis
Segmental Lean Analysis
InBody270, 370S
InBody770, 570
Bottom Bar (%)
•
Shows the development of the Muscle in %
•
(Over 100%) enough muscle to endure current weight
•
(Below 100%) need to develop more muscle for current weight
Upper Bar (kg)
•
Shows the amount of Muscle in kg
106

## Slide 107
Segmental Lean Analysis Application –
①
Evaluating development of the body
Weak Lower Body
Developed Lower Body
Weak Trunk
107

## Slide 108
Segmental Lean Analysis Application –
①
Evaluating development of the body
Obese male in 20s with
weak lower limb
C Shape,
Weak Lower Limb,
Right/Left Balance OK
High risk of knee/ankle injury
when exercising.
RA
LA
TR
RL
LL
108

## Slide 109
Segmental Lean Analysis Application –
①
Evaluating development of the body
Underweight female at the age of
19, lack of SMM
Underweight
Strong leg
Right/Left Balance OK
Lower body is relatively more
developed than upper body.
109

## Slide 110
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
Upper/Lower Imbalance
Arm Imbalance
Leg Imbalance
•
Slight imbalance: 1~2 bar difference between arms and legs
•
Severe imbalance: over 2 bar difference between arms and legs
•
Slight imbalance: 6-10% difference between arms
•
Severe imbalance: Over 10% difference between arms
•
Slight imbalance: 3-5% difference between legs
•
Severe imbalance: Over 5% difference between legs
110

## Slide 111
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
111

## Slide 112
Rafael Nadal
World Ranking
No. 1
Left
handed
Age 32
Main leg -
left
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
112

## Slide 113
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
113

## Slide 114
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
114

## Slide 115
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
115

## Slide 116
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
116

## Slide 117
Segmental Lean Analysis Application –
②
Muscle imbalance Assessment
➔
You are always in the risk of muscle imbalance.
117

## Slide 118
Segmental Lean Analysis Application –
③
Sarcopenia Assessment
Clinical Definition of Sarcopenia
Sarcopenia is a condition characterized by
Although it is primarily a disease of the elderly,
its development
may be associated with conditions that are not exclusively seen in older
persons.
Sarcopenia is
a syndrome characterized by
progressive and
generalized loss of
skeletal
muscle mass and strength and
[3 Steps for sarcopenia diagnosis]
Handgrip Strength
-
M < 26kg, F < 18kg
Gait speed
– 4m gait speed – ≤ 0.8m/s
Muscle Mass (SMI Index)
– M: 7.0kg/m
2
, F: 5.7kg/m
2
(BIA)
118

## Slide 119
ASM(Appendicular Skeletal
Muscle)
= RA+LA+RL+LL
= 1.11+1.05+4.00+3.97
= 10.13
SMI = ASM / Height(m)
2
(kg/m
2
)
*Cut-off
Muscle Mass (SMI Index)
Male: below 7.0 kg/m
2
Female: below 5.7 kg/m
2
Segmental Lean Analysis Application –
③
Sarcopenia Assessment
= 10.13 / (1.523)
2
= 4.02 kg/m
2
119

## Slide 120
Segmental Lean Analysis Application –
③
Sarcopenia Assessment
120

## Slide 121
How to read Segmental Lean Analysis
1. Absolute muscle amount (kg)
2. Muscle development based on current weight (%)
3. (Application
①
) Evaluating development of the body
4. (Application
②
) Muscle imbalance Assessment
5. (Application
③
) Sarcopenia Assessment
121

## Slide 122
CHAPTER 3 - Water
CHAPTER 1 - Fat
CHAPTER 2 - Muscle
CHAPTER 4 – Other Parameters
122

## Slide 123
Understand ICW and ECW
Intracellular
Water
Extracellular
Water
62
38
Body Water
Once the ratio is imbalanced it leads to Edema.
1) Increase of Extracellular Water (ECW)
2) Decrease of Intracellular Water (ICW)
123

## Slide 124
Understand ICW and ECW
Increase in ECW
•
After Injury or surgery
•
Tiredness, sodium intake
•
Circulation issues
•
Acute edema or inflammation
Why ECW Ratio increases?
Decrease in ICW
•
Malnutrition
•
Muscle loss
•
Chronic edema
124

## Slide 125
Understand ICW and ECW
Edema cases
ECW ↑
ICW
↓
ICW
↓,
ECW ↑
125

## Slide 126
Understand ICW and ECW
Intracellular
Water
Extracellular
Water
62
38
Body Water
ECW Ratio :
𝑬𝒙𝒕𝒓𝒂𝒄𝒆𝒍𝒍𝒖𝒍𝒂𝒓𝒆 𝑾𝒂𝒕𝒆𝒓
𝑻𝒐𝒕𝒂𝒍 𝑩𝒐𝒅𝒚 𝑾𝒂𝒕𝒆𝒓
:
38
100
= 0.380
126

## Slide 127
Understand ICW and ECW
Intracellular
Water
Extracellular
Water
62
38
Body Water
ECW Ratio :
𝑬𝒙𝒕𝒓𝒂𝒄𝒆𝒍𝒍𝒖𝒍𝒂𝒓𝒆 𝑾𝒂𝒕𝒆𝒓
𝑻𝒐𝒕𝒂𝒍 𝑩𝒐𝒅𝒚 𝑾𝒂𝒕𝒆𝒓
:
38
100
= 0.380
127

## Slide 128
Why is it important?
Person A
Person B
128

## Slide 129
Case I
Case II
Actual muscle gain
Edema
(Unnecessary water increased)
There can be two cases of muscle gain
Two cases of muscle increase
129

## Slide 130
ECW/TBW=0.447
ECW/TBW=0.371
Weight
Skeletal Muscle
Body Fat Mass
BMI
Percent Body Fat
Segmental Lean
RA
LA
Trunk
RL
LL
Heart failure patient
Soccer player
Lean Mass of InBody contains water information.
ECW Ratio can distinguish good muscle or not.
130

## Slide 131
≠
Person A
Person B
131

## Slide 132
ECW Ratio Application – Muscle Quality Assessment
※
ECW Ratio
The better the quality of muscle is,
the lower ECW Ratio is.
Higher SMI stands for increased muscle
mass.
To evaluate muscle quality,
ECW Ratio and Muscle Mass altogether
should be considered.
132

## Slide 133
Body Composition History
Positive Case
•
Weight decreased 2kg, maintained 37.6kg of muscle,
and decreased percent body fat by 2.1%
Negative Case
•
Weight is almost same, but you would be able to
see that slow loss of muscle, leading to a higher
Percent Body Fat
ECW Ratio Application – Muscle Quality Assessment
133

## Slide 134
Two possibilities of muscle increase
•
Good Muscle quality
•
Good circulation
•
Legs are easily swollen
•
Water retention in legs
•
Low muscle quality
30, Male / Like soccer
30, Female / Mostly seated
20, Female / Don’t do any sports
30, Female / Mostly seated
•
Thin legs, but densed
•
Low muscle mass, Need nutrition
•
Easy to gain fat
•
Thin legs, shapeless
•
Low muscle mass, Need nutrition
•
Easy to gain fat
134

## Slide 135
Muscle Loose?
Maintained Muscle Mass but feel tired
135

## Slide 136
Muscle Loose?
Did I loose Muscle Mass?
Weight : 47.9 kg
SMM: 20.1 kg
Fat mass: 10.6 kg
Total Body Water: 27.3 L
Weight : 46.8 kg
SMM: 19.6 kg
Fat mass: 10.6 kg
Total Body Water: 26.5 L
1 month after
SMM - 0.5 kg
TBW - 0.8 L
136

## Slide 137
Muscle Loose?
Muscle monitoring with InBody 270
Weight : 56.8 kg
SMM: 20.9 kg
Fat mass: 17.9 kg
Total Body Water: 28.4 L
Weight : 58.0 kg
SMM: 21.3 kg
Fat mass: 18.2 kg
Total Body Water: 29.1 L
Weight : 47.9 kg
SMM: 20.1 kg
Fat mass: 10.6 kg
Total Body Water: 27.3 L
Weight : 46.8 kg
SMM: 19.6 kg
Fat mass: 10.6 kg
Total Body Water: 26.5 L
1 month after
SMM - 0.5 kg
TBW - 0.8 L
After weekend
SMM + 0.4 kg
TBW + 0.7 L
137

## Slide 138
CHAPTER 3 - Water
CHAPTER 1 - Fat
CHAPTER 2 - Muscle
CHAPTER 4 – Other Parameters
138

## Slide 139
Nutritional Parameters – InBody Score
•
InBody Score starts from 80 points
Larger the muscle mass, the higher the score and larger the body fat mass,
the lower the score
Score = 80 – (Fat Control Mass) – (Muscle control mass)
Ex. Score = 80 – (9.9) – (2.5) = 67.6 (round off)
Score
Evaluation
Over 90
Indicates strong physique, well developed
muscle mass
70~90
Average healthy physique
Below 70
Regulated diet & exercise are required, a
weak physique
Lots of fat
Not enough
muscle
139

## Slide 140
•
Basal Metabolic Rate (BMR)
Number of calories you burn to maintain your basic essential functions.
•
Body Cell Mass (BCM)
‘Protein + ICW’, which has merits when applying to patients with Edema.
Nutritional Parameters – BMR, BCM
140

## Slide 141
Phase angle represents structural integrity and physiological functionality of the cells Used for nutritional assessment.
Improvements in cell membrane and functionality → Phase angle increase
Deterioration cellular integrity and selective permeability → Phase angle decrease
50KHz
Healthy Cell
Membrane
U max
I max
Phase Angle
Intact cells with high membrane integrity
High Phase Angle
Damaged Cell
Damaged cell or low cell density
Low Phase Angle
50KHz

## Slide 142
Using the BIA method, sending alternating current through the human body yields impedance (Z) values,
which can be
distinguished into resistance (R) and reactance (Xc). Since PhA represents the relative Xc value to R, PhA increases as Xc
increases, and PhA decreases proportionally as Xc decreases.
Clinical Nutrition 2004;23:1226-1243

## Slide 143
International Urology and Nephrology 2023
Phase angle can be used as nutrition and mortality assessment for kidney disease patients.
The optimal cut-off value for phase angle as a predictor of death risk
in MHD patients was 4.50°. Additionally, lower phase angle, increased age,
longer dialysis vintage, lower KT/V, and hypoproteinemia were identified
as significant risk factors for death in MHD patients
lower phase angle, increased age, longer dialysis duration,
and hypoproteinemia can be used to predict the risk of
mortality in this patient population.

## Slide 144
Phase Angle in Nutritional Assessment (Cardiac surgery)
144

## Slide 145
145
Mortality of Critical Care Patients and relation with ECW/TBW, Phase angle
Phase Angle in Nutritional Assessment (ICU)

## Slide 146
Phase Angle and Injury
3
Advantages of BIA measurement as an indicator of muscle damage in soccer players
“R, Xc, PA bioimpedance parameters are highly related to injury degree”
Source:
Physiol, Meas, 2013
Injury & Rehab Status Monitoring
146

## Slide 147
Injury Management
[Normal Stage]
[Injury Stage]
[Injury Recovery]
147

## Slide 148
3
Injury severity
1
Right Leg injured
ECW Ratio 0.347 to 0.374
Phase Angle 9.2° to 6.6°
The severity of the injury
can be determined
Injury recovery
2
Right Leg recovered
ECW Ratio and Phase Angle
getting back to the previous level
it is possible to determine the
ideal time of return for the
injured athlete
Weight
SMM
Body Fat Mass
PBF
Phase Angle
ECW Ratio
RA
LA
TR
RL
LL
RA
LA
TR
RL
LL
Injury & Rehab Status Monitoring
Injury Parameters (ECW Ratio, Phase Angle)
148

## Slide 149
RECOMMENDED WORK OUT
ROUTINE FOR BODY TYPES
MON
TUE
WED
THU
FRI
SAT
SUN
149

## Slide 150
WORKOUT
TYPE 1
Frequency: 2 times / week
Volume: 4 sets, 8-12 reps / exercise
Rest: 60 seconds between sets
Tempo: Lift 2 seconds / lower 4 seconds
Squat
Leg press
Leg
extension
Lunge
Leg curl
Standing
calf raise
Seated
calf raise
Developed Upper Body
150

## Slide 151
WORKOUT
TYPE 2
Frequency: 2 times / week
Volume: 4 sets, 8-12 reps / exercise
Rest: 60 seconds between sets
Tempo: Lift 2 seconds / lower 4 seconds
Bench press
Inclince dumbell
press
Lat pull
down
Barbell row
Dumbell
shoulder press
Barbell curl
Tricep pressdown
Lateral raise
Developed Lower Body
151

## Slide 152
WORKOUT
TYPE 3
Frequency: 2 times / week
Volume: 4 sets, 8-12 reps / exercise
Rest: 60 seconds between sets
Tempo: Lift 2 seconds / lower 4 seconds
Bench press
Pec fly
Rack
deadlifts
Incline
leg raise
45’ Back
extension
Cable row
Crunch sit
ups
Weak Trunk
152

## Slide 153
WORKOUT
TYPE 4
Frequency: 2 times / week
Volume: 4 sets, 8-12 reps / exercise
Rest: 60 seconds between sets
Tempo: Lift 2 seconds / lower 4 seconds
Alternate front
dumbell raise
Concentration
curl
One arm
preacher curl
Dumbell kickback
Single arm cable
lateral raise
One arm overhead
tricep extension
Upper Left / Right Imbalance
153

## Slide 154
Split squat
5.
4
WORKOUT
TYPE 5
•
Frequency: 2 times / week
•
Volume: 4 sets, 12-15 reps / exercise
•
Rest: 60 seconds between sets
•
Tempo: Lift 2 seconds / lower 4
seconds
Single leg
leg press
Single leg
extension
Box set up
Single leg curl
One leg calf raise
with dumbell
Lower Left / Right Imbalance
154

## Slide 155
PRECAUTIONARY STEPS
155

## Slide 156
!
•
InBody should be tested with arms straightened.
•
InBody should be tested with the arms apart from the torso.
•
InBody should be tested with bare feet.
•
InBody should be tested prior to physical exercise.
•
InBody should be tested at room temperature to prevent changes in body temperature.
•
InBody should be tested prior to taking a shower or bath.
•
InBody should be tested after going to the bathroom.
•
InBody should be tested with an empty stomach.
•
InBody should not be tested during menstruation for precise results.
•
InBody results may vary if the input height and weight differs.
Precautionary Steps
156

## Slide 157
Result Sheet
“ The higher the frequency, the lower the Impedance.”
If there is an error in impedance, the
measurement cannot be trusted.
157

## Slide 158
Consultation
Proposal
158

## Slide 159
Post-it
Sticky notes
Kleenex
Facial tissue
InBody
Body Composition Analyzer
159

## Slide 160
InBody Test
1.
(Beginning)PT counseling
2.
(Middle)Monitoring change
3.
(End)Target goal checking
Personal Training in Korea
160

## Slide 161
(Beginning) PT Counseling
[Target] To attract a new client to Personal Training
[Steps] 1. InBody Test
2. Consultation
- what is body composition
- CID analysis
- PBF, Visceral Fat Area
- ECW Ratio
- Imbalance
3. Showing motivating examples
- before & after
4. Setting goals and body profile photo
- time basis
-5 kg
+3 kg
-6 kg
0.380
0.372
- 30
23%
161

## Slide 162
(Middle) Monitoring change
[Target] To demonstrate PT program is effective
To find out weak points and to advise
[Steps] 1. Find the best frequency of measurement
2. Give feedback based on results sheet
3. Advise with expertise
- anatomy
- kinetics
- nutritional science
- rehabilitation
- InBody knowledge
162

## Slide 163
(End)Target goal checking
[Target] Before and After check
- InBody results
- body profile photo
[Steps] 1. Show changes
- Body composition changes
- appearance changes
2. Recommend to continue
- If some goals were not met within
limited time, recommend to
continue
Body Fat Mass
Weight
PBF
163

## Slide 164
Q&A
164

## Slide 165
I eat a lot of meat, however, why does the Body Composition
Analysis show a low protein?
Q&A
Just as piling bricks does not result in a building, protein intake
alone is not absorbed into the body, regular exercise is required.
Meat = Muscle?
How should I intake mineral supplements when the Body
Composition Analysis shows a low minerals?
When subject is underweight or lacks muscle, the Body
Composition Analysis shows low minerals.
It is recommended to consult a professional about increasing
weight or muscle together with intake of mineral
supplements.
Mineral supplements?
The Body composition Analysis shows
low body fat
, do I need
to increase the amount of body fat?
Is there a problem?
For females, too low body fat may result in irregular menstrual
cycle, so it is important to maintain a proper amount of body
fat mass.
The lower the fat, the healthier I am?
165

## Slide 166
Q
Q&A
There are many different terms for muscles. What is different?
A
Total Body Mass
–
Body Fat Mass
Fat Free Mass (FFM)
Fat Free Mass
–
Osseous Mineral
= Total Body Mass
–
Body Fat Mass
–
Osseous Mineral
Soft Lean Mass
Sum of limbs muscle mass / 0.75
Skeletal Muscle Mass (SMM)
Fat Free Mass in a given segment
Segmental Lean
166

## Slide 167
Q
Q&A
How can we calculate Ideal weight and Target weight?
= Ideal BMI x height(m) x height(m)
Ideal Weight
Factor of total weight and height, and does not factor body composition.
The ideal weight can be found using the BMI or Broca’s method.
Male : 22 x height(m)
2
Female : 21 x height(m)
2
Fat Control = Standard Percent Body Fat(15 or 23) x Ideal weight
Muscle Control = Ideal Percent Muscle(85 or 77) x Ideal weight
Target Weight
InBody’s output of muscle and fat mass for proposed standard is based
on standard weight and standard body fat. In other words, the body fat
mass for the standard weight is when the subject is of the standard
weight and the subject has standard body fat ratio (15% for males, 23%
for females).
A
167

## Slide 168
How to read Segmental Lean Analysis
Current weight? Ideal weight? Target weight?
Q
= Ideal BMI x height(m) x height(m)
Ideal
Weight
Male : 22 x height(m)
2
Female : 21 x height(m)
2
Ex) Jane Doe: 21 x 1.569 x 1.569 = 51.69 kg
Target Weight
A
= Current weight + Weight control
Fat Control = 15%(male) or 23%(female) x Ideal weight
Muscle Control = 85%(male) or 77%(female) x Ideal weight
Ex) Jane Doe: 59.1 – 9.9(Fat control) + 2.5(Muscle control) = 51.7 kg
168

## Slide 169
How to read Segmental Lean Analysis
Current weight
Ideal weight
= Ideal BMI x height(m) x height(m)
Male : 22 x height(m)
2
Female : 21 x height(m)
2
Ex) Jane Doe: 21 x 1.569 x 1.569 = 51.69 kg
Interpretation example
- You have 2.01kg of lean mass(muscle mass) on your right arm,
which means 102.1% enough to
support your current weight. Whereas your left arm does not have enough lean mass showing 97.8%
of development.
- The length of top bar is based on ideal weight where your weight bar is at 100%. On your left arm,
if we compare 1.93kg of lean mass to your ideal weight 51.69kg,
it will be enough (Top bar length).
But if we compare it to your current weight, it’s not enough saying 97.8%.
169

## Slide 170
170

## Slide 171
171

## Slide 172
FAQ regarding InBody Result Parameters
•
2018. 03. 13 / InBody Clinical Support Team / Lisa Cha
172

## Slide 173
Normal Range
Q. What is the reference for BMI normal range?
A.
The normal range for BMI is based on recommendations for a healthy weight
range (based on height) for reducing health risks associated with being
over/underweight.
These ranges are set by the World Health Organization (WHO).
The healthy range published by WHO is 18.5 - 24.9kg/m
2
.
This is the default BMI range on all InBody devices.
173

## Slide 174
A.
The normal range for BMI for Asians are different from WHO standards.
According to the, the normal BMI for Asian reference is 18.5-23.
This Guideline was set by WPRO (The Steering Committee of the Regional
office for the Western Pacific Region of WHO).
Normal Range
Q. What is the reference for BMI normal range?
174

## Slide 175
A.
The normal range for weight is based on the normal(deal) BMI range set by
WHO.
The normal range for weight can be calculated using the height and BMI
normal range.
Normal Range
Q. What is the reference for weight normal range?
175

## Slide 176
A.
The normal range for PBF is 10-20%(male), 18-28%(female).
Normal Range
Q. What is the reference for PBF(Percent Body Fat) normal range?
176

## Slide 177
A: Organizations such as the American College of Sports Medicine (ACSM) and
the American Council on Exercise (ACE) have published various categories f
or body fat ranges according to associated health risks.
ACSM
ACE
Normal Range
Q. What is the reference for PBF(Percent Body Fat) normal range?
177

## Slide 178
A.
The normal range for PBF is 10-20%(male), 18-28%(female).
By combining these data sets with additional data collected through research,
InBody sets a recommended average body fat percentage of 15% for males
and 23% for females. Increasing the limits to +/-5% provides a normal,
healthy range for lowering health risks.
Normal Range
Q. What is the reference for PBF(Percent Body Fat) normal range?
178

## Slide 179
A.
FFM(Fat Free Mass)
– Sum of all the non-fat components in the body.
– Sum of TBW + Protein + Minerals = Body Weight – Fat mass
SLM(Soft Lean Mass)
– Sum of ‘soft’ components among FFM
– FFM – Osseous minerals (Excluding the bones)
SMM(Skeletal muscle mass)
– Muscle that are around the bones.
– Muscle which is influenced by diet and exercise
Result Parameters
Q. What is the difference between FFM, SLM and SMM?
179

## Slide 180
Whole Body Composition
FAT
Osseous
Mineral
FFM
Non-
Osseous
Mineral
Protein
ECW
ICW
SLM
=
Muscle Mass
Result Parameters
Q. What is the difference between FFM, SLM and SMM?
180

## Slide 181
Non-
Osseous
Mineral
Protein
ECW
ICW
Soft Lean Mass(=Muscle Mass)
Soft Lean Mass(=Muscle Mass)
Skeletal
Muscle
Mass
Cardiac
Muscle
Organ
Muscle
Result Parameters
Q. What is the difference between FFM, SLM and SMM?
181

## Slide 182
A.
The total segmental FFM is only the amount in the arms, legs and the trunk.
On the other hand, the total body FFM includes the head and neck FFM.
According to the results, the subject has a difference of 5.31kg.
Which means this subject has 5.31kg of FFM in the head and neck.
Sum
= 31.99 kg
Result Parameters
Q. Why is there a difference with total FFM and sum of segmental FFM(Lean)?
182

## Slide 183
A.
The total segmental FM is only the amount in the arms, legs and the trunk.
On the other hand, the total body FM includes the head and neck FM.
According to the results, the subject has a difference of 1.3kg.
Which means this subject has 1.3kg of FFM in the head and neck.
Sum
= 20.5 kg
Result Parameters
Q. Why is there a difference with total FM and sum of segmental FM?
183

## Slide 184
A.
References above say that the human head weighs about 4.5-5kg.
If the neck is included, it can be up to approximately 7-9kg (or more).
Result Parameters
Q. Does InBody’shead and neck mass make sense?
184

## Slide 185
A.
InBody’s segmental lean mass is derived from a
regression equation with DEXA.
Then from subtracting the segmental lean mass from
total FFM(LBM), we can get the head and neck FMM.
Result Parameters
Q. How does the InBodymeasure the head and neck values?
185

## Slide 186
A.
BIA can not differentiate between the visceral fat and subcutaneous fat.
InBody made regression equations with CT’s VFA results.
Estimation is based on research findings on the link between an individual’s
segmental distribution of lean and fat mass and trends in fat storage.
Result Parameters
Q. How does the InBodymeasure Visceral Fat?
186

## Slide 187
A:
VFA estimates the area of visceral fat in cm2.
VFL provides a simplified measure of visceral fat area with a range from 1-
20. Each level is equivalent to 10 cm2 of VFA. Therefore, a VFA of 11.3 cm2
would be equivalent to a VFL of 1.
Maximum VFL is Level 20.
Result Parameters
Q. What is the difference between VFA and VFL?
187

## Slide 188
A.
The InBody adapts its segmental analysis to
the “cut lines” used in DEXA scanning
procedures.
The DEXA “cut lines” unequally divide the
shoulders and glutes. While a part of the
shoulders will be in the arm segments, some
will be in the trunk section. Likewise, a part
of the glutes will be in the leg segments and
some will be in the trunk.
Result Parameters
Q. How does the InBodysegment the body?
Which parts of the body (i.e. shoulders/glutes) are in which segments?
188

## Slide 189
A:
SMM is calculated using the physiological theory which states that the
arms and legs contain 75% of the whole body SMM.
However, when calculating SMM InBody considers ECW ratio and
upper/lower body balance.
SMM
= (RA+LA+RL+LL lean mass) / 0.75 and consider ECW ratio and balance
Result Parameters
Q. How is SMM calculated?
189

## Slide 190
A.
Since the implant is not an electronic material like a pacemaker, there is no problem with safety
regardless of the size and insertion position.
Metallic implants, however, are better conductors of currents than water. Therefore, InBody
measurements are taken around the implant site, the equipment determines that the
impedance readings are low, and therefore the person has a lot of body water and muscle mass.
Also, how the implants affect the body composition varies by the material, shape, size, insertion
site, etc. of the implants. Since clinical trials cannot be performed for such implants, it is virtually
impossible to provide a useful reference for it.
Therefore, those with implants should use InBody only to monitor body composition changes.
However, if the implants are only small bolts or similar, they would have very little influence on
the impedance readings, and any resulting changes may be regarded to be within the error
range.
Interpretation
Q. Can we measure patients with metal implants?
190

## Slide 191
A.
Since the stent is not an electronic material like a pacemaker, there is
no problem with safety regardless of the size and insertion position.
In addition, although the stent is a metallic material through which
current flows, its size is very small. The influence on impedance
measurements is also within the error range. The body composition
measurements can be used with the same level of confidence.
Interpretation
Q. Can a patient with cardiovascular Stent measure InBody?
Is there any effect in the result values when measuring these population?
191

## Slide 192
A:
Breast implants are measured as FAT.
In female body builders, there are cases when their fat mass is
measured higher than expected.
Subjects with breast implants or any other cosmetic implants can
appear like this.
Interpretation
Q. What is breast implants measured as?
192

## Slide 193
A.
When you use an analyzer like InBody, which analyzes body water
content using impedance measurements, on a patient with an
amputated limb, there is less resistance that hinders the flow of currents
in proportion to the length of the limb that is not present. As a result,
the analyzer thinks that particular segment of the body contains a high
level of body water. This happens because InBody has not been given any
information about the shorter limb. Thinking that all limbs are of the
normal lengths, InBody calculates body water using the low impedance
readings.
However, since InBody is an analyzer that shows the impedance
measurements as they are, you can use InBody to monitor the condition
of the amputated limb.
Interpretation
Q. How much can we trust the result of amputated patients?
Is there a minimum length of the amputated segment to measure InBody?
193

## Slide 194
Interpretation
Q. How much can we trust the result of amputated patients?
Is there a minimum length of the amputated segment to measure InBody?
194

## Slide 195
Precautionary Steps
-Lisa Cha-
195

## Slide 196
Precautionary steps for
Accurate InBody measurements
BWA Dept. Clinical Team Lisa Cha
2019.03.11
InBody Basics
196

## Slide 197
CONTENTS
➢
InBody should be tested with arms straightened.
➢
InBody should be tested with the arms apart from the torso.
➢
InBody should be tested with bare feet.
➢
InBody should be tested prior to physical exercise.
➢
InBody should be tested at room temperature to prevent changes in body temperature.
➢
InBody should be tested prior to taking a shower or bath.
➢
InBody should be tested after going to the bathroom.
➢
InBody should be tested with an empty stomach.
➢
InBody should not be tested during menstruation for precise results.
➢
InBody results may vary if the input height and weight differs.
➢
Reason why percent body fat varies before and after sleep.
!
197

## Slide 198
Precautionary Steps
Internal tests
198

## Slide 199
➢
InBody should be tested with arms straightened.
Impedance
is affected by the cross-sectional
area so the resistance value
differs when current goes through a regular cylinder and bent cylinder.
If
the arm or the leg is bent while testing InBody, the length of the cylinder(arm,
leg), which the current passes, will decrease. This leads to impedance decrease
in the bent area that results in decrease of PBF.
Experimental
Results
show that when InBody was tested with the arms
bent,
upper limb impedance decreased compared to testing while the arms
were straightened. This caused underestimation of the percent body fat.
Summary
< PBF difference from posture change>
Age 28, Height 183cm, Male
Age 30, Height 174cm, Male
Age 29, Height 178cm , Male
Correct Posture
Bent Forward
▲ Correct Posture (O)
▲ Wrong Posture (X)
Correct Posture
Bent Forward
Correct Posture
Bent Forward
▲ Wrong Posture (X)
199

## Slide 200
Age 28, Height 183cm, Male
Age 29, Height 178cm, Male
Stand at attention
About 15︒
About 30
︒
About 60
︒
Impedance
is
a resistance that
occurs
when current
flows. It is affected by the length and cross-sectional
area
of the conductor.
If
InBody is
tested without
arms
apart
from the torso in
topless or
sleeveless clothes,
the armpit
will
attach to the
torso resulting in impedance decrease. Likewise, if the thighs
attach to each other
while wearing shorts,
the lower
limb
impedance will decrease.
Experimental
Results
show that
as the angle between
arm and torso got smaller, the arm and torso attached to each
other. This led to underestimation in PBF.
< PBF difference from angle between arms and torso>
➢
InBody should be tested with the arms apart from the torso.
Stand at attention
About 15︒
About 30
︒
About 60
︒
▲ Correct Posture (O)
▲ Wrong Posture (X)
Summary
200

## Slide 201
InBody
uses a touch type method that makes the electrical
connection by direct attachment of
hands and feet to the
electrode.
Contact
Resistance
is the degree of
disturbance that
occurs between two attaching conductors(i.e.
the InBody
electrode and skin).
The contact resistance increases when
the contact condition of the electrode and skin is bad.
Experimental
Results
show that there was impedance
change when testing InBody wearing socks
or
stockings
compared to bare feet. This led to maximum 6.8% of error in
PBF.
<PBF difference from wearing socks and stockings>
Age 29, Height 162cm, Female
Age 26, Height 157.5cm, Female
▲
Incorrect measurement: Stockings, Socks
▲ Correct measurement: Bare feet
➢
InBody should be tested with bare feet.
Summary
Bare
Feet
Thin
Stockings
Socks
Thick
Stockings
Bare
Feet
Thin
Stockings
Socks
Thick
Stockings
201

## Slide 202
When Exercising
our body distributes more body water to
the exercising part to quickly supply nutrients and remove
body wastes.
After
Exercise
body water
is retained in the exercising
parts
which makes
it
feel
stiff.
Body
water
distribution
change by exercise can lead to measurement error in BIA
technology.
Experimental
Results
show decrease in impedance right
after 30 minutes of upper and lower body exercise which led
to changes in PBF.
PBF difference due to exercise differs by
individual depending on exercise performance.
< 29, 162cm, Female, PBF difference before and after exercise>
Upper Body Exercise(30min. Dumbbell)
Lower Body Exercise(30min. Cycling)
➢
InBody should be tested prior to physical exercise.
Summary
Before
Right
After
20min
After
40min
After
60min
After
Before
Right
After
20min
After
40min
After
60min
After
202

## Slide 203
Sauna
Ice Room
< 29, 162cm, Female, PBF difference by 30 minute exposure in hot and cold environment >
Body
temperature
Human
Body
shows
changes
in blood flow,
body
temperature and skin temperature when exposed in a hot
or cold environment.
InBody
and other body composition analyzers use BIA
technology to measure body impedance.
The impedance
is affected by room temperature and skin temperature.
(Generally,
impedance and temperature have negative
correlation)
Experimental
Results
show when 5 adults in their
20s
were exposed in a cold environment,
their
PBF
increased 1.3~4.2% while
their
average
temperature
dropped 1.1
℃
.
On the other hand,
when exposed in a
hot
environment
their
PBF decreased 1.7~3.2% while
their average temperature increased 1.7
℃
.
➢
InBody should be tested at room temperature to prevent changes in
body temperature.
Summary
Before
Right
After
10min
After
20min
After
30min
After
Before
Right
After
10min
After
20min
After
30min
After
40min
After
50min
After
60min
After
203

## Slide 204
< 29, 162cm, Female, PBF difference before and after taking a shower
>
Before After
Before After
Before After
Before After
Before After
Before After
Before After
Taking a shower
or
bath
leads
to changes
in body
temperature.
This leads in control
of the blood flow in the
skin
surface
in
order
to
maintain
body
temperature
homeostasis.
When Temperature
rises,
our body increases blood flow
by expanding skin blood vessels in order
to increase the
body
heat
release.
On
the
other
hand,
when
body
temperature
drops,
our
body
decreases
blood flow by
contracting skin blood vessels in order
to decrease body
heat release. The blood flow from temperature change leads
to impedance change that results in PBF error.
Experimental
Results
show when a 27 year old woman
tested InBody before and after
15 minutes of
hot
water
shower, PBF decreased minimum 0.5% to maximum 1.9%.
➢
InBody should be tested prior to taking a shower or bath.
Summary
204

## Slide 205
< 26, 157.5cm Female, PBF difference before and after going to the bathroom>
Before
When
Body
Composition
is
classified
by
2-
compartment
model,
it
can be divided into Fat
Free
mass and Fat mass. BIA principle calculates fat mass
by
subtracting fat free mass from weight which is the total
of whole body composition.
Feces and Urine
is inside the organs so it can not be a
path for
electricity flow according to BIA principles.
However,
because these affect
the body weight,
it
is
known that these two are considered as body fat mass.
Experimental
Results
show when three female
tested InBody before,
right after and 10 minutes after
going
to the bathroom,
their
PBF
differed.
When
InBody was tested right after going to the bathroom,
the
decreased
weight
from excretion
resulted
in
decrease in PBF.
However,
there were no certain
pattern in PBF change after 10 minutes.
➢
InBody should be tested after going to the bathroom.
Summary
Right
After
10min
After
Before
Right
After
10min
After
Before
Right
After
10min
After
Before
Right
After
10min
After
Before
Right
After
10min
After
Before
Right
After
10min
After
205

## Slide 206
<PBF difference due to food ingestion>
Age 31, Height 180cm, Male
Age 27, Height 162cm, Female
Before
Eating
Food Ingestion
increases weight and is therefore known
to increase percent
body fat
following the BIA principle.
However,
in truth ingesting food decreases impedance and
can lower percent body fat.
After
eating
food,
blood is
intensively
supplied to the
digestive organs increasing the peristalsis, secretion rate and
absorption rate of the digestive tract along with the blood
flow. This status lasted about 2~4 hours before stabilizing.
Experimental Results
show that PBF of 2 male and female
subjects
gradually
declined
for
3
hours
after
dinner.
Impedance
of
5
subjects
in the
additional
experiment
decreased right after breakfast,
lunch and dinner but there
was no certain pattern on the change of PBF.
➢
InBody should be tested with an empty stomach.
Summary
10min after
Eating
90min after
Eating
180min after
Eating
Before
Eating
10min after
Eating
90min after
Eating
180min after
Eating
206

## Slide 207
Age 29, Height 162cm, Female
Age 27, Height 161cm, Female
Progestational
Stage
Women
have temporary
weight
and body composition
change
by
their
menstrual
cycle
due
to
influence
of
hormone.
In Progestational
Stage,
there is a tendency of
weight
gain due to body
water
retention.
However,
in InBody
measurement
the accumulated water is considered as fat
free mass so the PBF decreases.
On the other hand,
there
are cases where PBF increases due to increased appetite and
eating patterns such as preference in salty and sweet food.
Experimental
Results
in a three months follow up in 2
female showed up and downs un their PBF in premenstrual
and menstrual period. The tendency differed by month even
in the same person.
In other
words,
body
composition
change by menstrual cycle differs by people so it con not be
predicted.
However,
biggest
difference
occurs
in
progestational and menstruation stage so it is recommended
to avoid testing in this stage.
➢
InBody should not be tested during menstruation for precise results.
Summary
<PBF difference by menstrual cycle>
Menstrual
Period
Follicular
Phase
Ovulation
Period
Progestational
Stage
Menstrual
Period
Follicular
Phase
Ovulation
Period
207

## Slide 208
Changes in height
Changes in body weight
Items
Standard
-2cm
Decrease
+1cm
Increase
+3cm
Increase
Standard
-2kg
Decrease
+1kg
Increase
+3kg
Increase
Height(cm)
162
160
163
165
162
162
162
162
Weight(kg)
44.4
44.3
44.3
44.3
46.4
44.4
47.4
49.4
SLM(kg)
34.3
33.8
35
35.8
34.8
34.3
35.1
35.2
Body Fat(kg)
8.1
8.5
7.2
6.4
9.5
8.1
10.2
11.9
PBF(%)
18.2
19.1
16.3
14.4
20.4
18.2
21.5
24.1
<29, 162cm, Female, PBF difference due to Height and Weight difference>
InBody
calculates body water by Impedance Index which is the value of height(m) square divided by resistance
As we can see in the TBW equation, height is positively correlated with TBW so if the input height increases, the TBW also
increases resulting in PBF decrease.
Also when Body Composition is classified by 2-compartment model,
it can be divided into Fat Free mass and Fat mass.
So if
weight increases without any change in fat free mass, the increased weight will result in increase of fat mass.
In other words,
height
and weight
are a very important
variable in BIA principle so when monitoring InBody results,
it
is
important to wear light clothes and enter your exact height.
➢
InBody results may vary if the input height and weight differs.
Summary
208

## Slide 209
<27, 162cm, Female, PBF difference between before sleeping, immediately after waking up and 30min after waking up>
Before Sleeping
→
After waking up Max weight change: 0.8kg, Max PBF change 1.8%
● Before sleeping ◆ Immediately after waking up ▲ 30 minutes after waking up
Day1 Day2 Day3 Day4 Day5 Day6 Day7 Day8 Day9 Day10 Day11 Day12 Day13 Day14 Day15 Day16 Day17 Day18 Day19 Day20
Sleeping and Waking up
occurs with a posture change which results in body water redistribution leading in segmental impedance change. Impedance change due to posture
change occurs for over 15 minutes after posture change, and body water distribution stabilizing time gets longer when the same posture was lasted longer. Generally, average
sleeping hours in bed are about 6-7 hours. So certain amount of time is needed to stabilize the body water distribution. In other words, testing InBody right after waking up is not
recommended.
➢
Reason why percent body fat varies before and after sleep.
Summary
209

## Slide 210
Precautions for DEXA validation
(Red) DXA right arm lean + BMC 1.508 + 0.130 = 1.638 = BIA right arm lean 1.66
(Yellow) DXA left arm lean + BMC 1.525 + 0.136 = 1.661 = BIA left arm lean 1.64
(Green) DXA trunk lean + BMC = 17.628 + 0.667 = 18.295 = BIA lean mass 16.2
(Blue) DXA right leg lean + BMC 5.571+0.428= 4.78 = BIA right leg lean 4.73
(Purple) DXA left leg lean + BMC 5.501+ 0.409 =5.015 = BIA left leg lean 4.66
[InBody VS DEXA]
210

## Slide 211
Thank you
Precautionary Steps
211

## Slide 212
All about Bioimpedance
Characteristics
212

## Slide 213
All about bioelectrical impedance
[What to check after measuring the InBody]
Trunk
40 Ω
10 Ω
Frequency
Impedance
?
left
right
We can check if the data
is reliable or not through
the patterns of the
impedance values.
213

## Slide 214
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedecrease]
1. Check the impedance get lower as the frequency increases.
According to the theory of BIA technology, impedance measured on high
frequency is smaller than impedance of low frequency.
Therefore, as the frequency increase the impedance gets smaller for all five
body parts.
Frequency
Impedance
214

## Slide 215
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedecrease]
Normal Data
215

## Slide 216
All about bioelectrical impedance
Reversed Trunk Impedance value
[What to check after measuring the InBody_Impedancedecrease]
216

## Slide 217
All about bioelectrical impedance
Reversed Right Arm Impedance
[What to check after measuring the InBody_Impedancedecrease]
217

## Slide 218
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedecrease]
1. Check the impedance get lower as the frequency increases.
According to the theory of BIA technology, impedance measured on high
frequency is smaller than impedance of low frequency.
Therefore, as the frequency increase the impedance gets smaller for all five
body parts.
Frequency
Impedance
Q. Why does impedance decrease as it goes to higher frequencies?
Volume
=
ρ
𝐿𝑒𝑛𝑔𝑡ℎ
2
𝐼𝑚𝑝𝑒𝑑𝑎𝑛𝑐𝑒
TBW
𝐓𝐨𝐭𝐚𝐥 𝐁𝐨𝐝𝐲 𝐖𝐚𝐭𝐞𝐫
∝
𝐻𝑒𝑖𝑔ℎ𝑡
2
𝐼𝑚𝑝𝑒𝑑𝑎𝑛𝑐𝑒
218

## Slide 219
All about bioelectrical impedance
[What to check after measuring the InBody_TrunkImpedance]
2. Check if the trunk impedance is not higher than 40Ω.
Trunk is the shortest but the widest part of our body, thus, the value of the
impedance is lower. In most of cases, trunk impedance is not higher than
40Ω and lower than 10Ω.
Trunk
40 Ω
10 Ω
Abnormal data
219

## Slide 220
All about bioelectrical impedance
[What to check after measuring the InBody_TrunkImpedance]
Impedance data from an underweight person
220

## Slide 221
All about bioelectrical impedance
RA
LA
TR
RL
LL
1kHz
224.1
215.9
15.2
201.7
205.3
5kHz
216.3
208.4
14.5
195.5
198.8
50kHz
178.5
173.7
11.0
161.4
162.3
250kHz
154.5
150.8
8.3
139.5
139.6
500kHz
147.8
144.5
7.7
134.1
134.5
1MHz
142.1
139.2
7.3
130.7
130.9
Impedance data from a muscular person
[What to check after measuring the InBody_TrunkImpedance]
221

## Slide 222
All about bioelectrical impedance
[What to check after measuring the InBody_TrunkImpedance]
Impedance data from a HD patient
RA
LA
TR
RL
LL
1kHz
312.5
244.9
14.2
127.3
128.3
5kHz
309.1
243.0
14.1
125.5
126.3
50kHz
289.9
230.9
13.6
118.1
118.7
250kHz
269.6
214.6
12.6
112.2
113.2
500kHz
259.7
206.2
11.7
109.5
109.9
1MHz
244.2
195.3
9.2
103.8
104.2
222

## Slide 223
All about bioelectrical impedance
[What to check after measuring the InBody_TrunkImpedance]
Trunk Impedance is abnormal
223

## Slide 224
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedifference between R/L]
3. Check if the difference between right and left impedance
is higher than 30Ω.
Generally speaking, the difference between right and left arm is less than
30Ω. However, this difference could be higher when the person has
different amount of water or muscles due to disease, sprain, fracture,
injury and inserted prostheses.
Therefore, when the difference of the impedance in right and left part is
higher, make sure to verify its history.
224

## Slide 225
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedifference between R/L]
Significant Difference between Right and left arm Impedance
Dialysis access from the left arm
225

## Slide 226
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancedifference between R/L]
Significant Difference between Right and left leg Impedance
Right leg amputee patient
226

## Slide 227
All about bioelectrical impedance
[What to check after measuring the InBody_Impedancetendancybetween R/L]
left
right
4. Check if the impedance of the right and left part is
reversed.
It is not common to see the impedance reversal in right and left part of our
body except for the orthopedics and edema patients. If impedance of right
leg is higher in low frequencies while impedance of left leg is higher in high
frequencies, make sure to check the ‘Edema’.
227

## Slide 228
All about bioelectrical impedance
Impedance tendency in legs: Impedance of right leg is higher
in low frequencies while impedance of left leg is higher in high
frequencies. Please check edema.
[What to check after measuring the InBody_Impedancetendancybetween R/L]
228

## Slide 229
All about bioelectrical impedance
[What to check after measuring the InBody]
Impedance should decrease as the
frequency increases.
Each impedance shouldn’t be too low or high.
The impedance difference of left and right
segments should be lower than 30ohm.
229

## Slide 230
All about bioelectrical impedance
[What to check after measuring the InBody]
Make sure if the measurement is correctly done using
“Impedance”
For the accurate measurements, impedance is important as it is the individual value
related to the body composition. With this impedance, we can firstly determine
whether the measurement is correctly done.
230

## Slide 231
Thank You
InBody Technologies
231

## Slide 232
Validation studies
InBody vs Gold Standards
InBody Basics
232

## Slide 233
CONTENTS
01
Precautions for DEXA validation
InBodyvs DEXA, CT
InBodyvs D
2
O
02
03
FFM
BFM
SMM
InBodyvs DEXA
04
BMC
233

## Slide 234
Precautions for DEXA validation
InBody vs DEXA
234

## Slide 235
Definition:
Loss of muscle tissue as a natural part of aging process
*Ref 1. 문연실, 한설희, J Korean Neurol Assoc. 2017;35(4 suppl):16-19
1998
2010
Defining muscle function only with muscle mass seemed insufficient
Sarcopenia = Total concept of muscle function decrease
Overall assessment of muscle mass, strength, physical performance
Baumgartner attempted to define sarcopenia by dividing muscle
mass measured by DXA with height < 2SD
(Young adults)
ASM/height(m)
2
<7.26kg/m
2
(M), 5.45kg/m
2
(F)
What is Sarcopenia?
235

## Slide 236
Precautions for DEXA validation
VS
236

## Slide 237
Precautions for DEXA validation
InBody
DEXA
Bone
mineral
(Soft)
Lean mass
Fat
mass
Fat
mass
Protein
Water
Mineral
Fat free mass (Lean body mass)
-
DEXA fat mass = InBody fat mass
-
DEXA bone mineral + lean mass = InBody fat free mass(lean body mass)
-
DEXA bone mineral ≠ InBody mineral
-
DEXA bone mineral = InBody bone mineral content
Comparison of DXA and BIA
237

## Slide 238
Precautions for DEXA validation
(Orange) DXA fat mass 22.9kg = BIA fat mass 23.6kg
(Purple) DXA lean mass 34.6kg =BIA soft lean mass 34.7kg
(Grey) DXA bone mineral 2.28kg ≠ BIA mineral 2.75kg
DXA Fat free mass = lean + bone mineral = 34.6 + 2.28 = 36.9kg = BIA Fat free mass 37.0kg
[InBody VS DEXA]
238

## Slide 239
Precautions for DEXA validation
(Red) DXA right arm lean + BMC 1.508 + 0.130 = 1.638 = BIA right arm lean 1.66
(Yellow) DXA left arm lean + BMC 1.525 + 0.136 = 1.661 = BIA left arm lean 1.64
(Green) DXA trunk lean + BMC = 17.628 + 0.667 = 18.295 = BIA lean mass 16.2
(Blue) DXA right leg lean + BMC 5.571+0.428= 4.78 = BIA right leg lean 4.73
(Purple) DXA left leg lean + BMC 5.501+ 0.409 =5.015 = BIA left leg lean 4.66
[InBody VS DEXA]
239

## Slide 240
InBodyValidation Studies
InBody vs DEXA
240

## Slide 241
1) InBodyvs DEXA
Country
Research
Publication
Year
Journal
Device
Subjects
Correlation
Coefficient
1
Japan
Dual Energy X-ray Absorptiometry and
Bioimpedance Analysis are Clinically Useful for
Measuring Muscle Mass in Kidney Transplant
Recipients With Sarcopenia
2018
Transplantation
Proceedings
DEXA(Hologic)
vs CT vs
InBody720
58 Kidney transplant
recipients
SMM
BIA vs DXA (r=0.900)
BIA vs CT (r=0.761)
2
Thailand
Evaluation of Body Composition in Hemodialysis
Thai Patients: Comparison between Two Models of
Bioelectrical Impedance Analyzer and Dual-Energy
X-Ray Absorptiometry
2018
Journal of Nutrition
and Metabolism
DEXA(Hologic)
vs InBody S10,
InBody720
HD Patients
InBody S10
Body fat mass
Male (r=0.91)
Female (r=0.95)
Fat free mass
Male (r=0.84)
Female (r=0.68)
3
Iran
Comparison of Body Composition Assessed by
Multi-Frequency Segmental Bioelectrical
Impedance Analysis and Dual Energy X-Ray
Absorptiometry in Hemodialysis Patients
2018
Nephro-Urology
Monthly
DEXA(STRATOS)
vs InBody S10
43 ESRD Patients
Body fat mass
R
2
=0.869
Fat free mass
R
2
=0.886
4
USA
Comparison of total and segmental body
composition using DXA and multi-frequency
bioimpedance in collegiate female athletes
2015
Journal of
Strength and
Conditioning
Research
DEXA(Lunar)
vs InBody720
45 American Female
Collegiate Athletes
Percent body fat
r = 0.94
5
Brazil
Comparison of two bioelectrical impedance device
s and dual energy x ray absorptiometry to
Evaluate body composition in heart failure
2014
Journal of Human
Nutrition and
Dietetics
DEXA (Hologic)
vs BodyStat
vs InBody230
55 Brazilian Heart
Failure patients
Fat free mass
r = 0.930
Body fat mass
r = 0.905
Percent body fat
r = 0.803
241

## Slide 242
Country
Research
Publication
Year
Journal
Device
Subjects
Correlation
Coefficient
6
Korea
Comparison of bioimpedance analysis and dual
energy X-ray absorptiometry body composition
measurements in peritoneal dialysis patients
According to edema
2012
Clinical
Nephrology
DEXA(Hologic)
vs InBody4.0
535 Korean
Peritoneal Dialysis
Patients
Body fat mass
1st : r
2
= 0.981
2nd : r
2
= 0.962
3rd : r
2
= 0.962
4th : r
2
= 0.971
7
Korea
Comparisons of obesity assessments in over-weight
elementary Students using anthropometry, BIA, CT
and DEXA
2010
Nutrition
Research
and Practice
DEXA(Not mentioned)
vs InBody230
103 Obese,
Overweight Korean
Children between 2-
6
th
grade
Fat free mass
M : r = 0.878
F : r =0.944
Body fat mass
M : r = 0.853
F : r =0.887
8
Korea
Cross-calibration of multi-frequency bioelectrical
impedance analysis with eight-point tactile
electrodes and dual-energy X-ray absorptiometry fo
r
assessment of body composition in healthy children
aged 6 – 18 years
2009
Pediatrics
International
DEXA(Lunar)
vs InBody720
166 Korean Children
and Adolescents
under 18 years old
Fat free mass
r
2
= 0.990
Body fat mass
r
2
= 0.934
Percent body fat
r
2
= 0.940
9
UK
Comparison of multifrequency bioelectrical
impedance analysis and dual-energy x-ray
absorptiometry assessments in outpatient
hemodialysis patients
2011
American
Journal of
Kidney
Diseases
DEXA(Hologic)
vs InBody720
53 British
Hemodialysis
Patients
Fat free mass
r
2
= 0.845
Body fat mass
r
= 0.93
10
Netherlan
ds
Accuracy of direct segmental multi-frequency
Bioimpedance analysis in the assessment of
total body and segmental body composition
in middle-aged adult population
2011
Clinical
Nutrition
DEXA (Hologic)
vs InBody720
484 middle-aged
Caucasian
Body fat mass
M : r = 0.93
F : r = 0.97
11
UK
Assessment of body composition in peritoneal
dialysis(PD) Patients using bioelectrical
impedance and dual-energy x-ray absorptiometry
2011
American
journal
of nephrology
DEXA(Hologic)
vs InBody720
104 British
Peritoneal Dialysis
Patients
Fat free mass
r = 0.95
Body fat mass
r = 0.93
1) InBodyvs DEXA
242

## Slide 243
【Representative Validation Study】_2018
DEXA(Hologic) vs CT vs InBody720
1) InBodyvs DEXA
243

## Slide 244
【Representative Validation Study】_2018
DEXA(Hologic) vs InBody S10, InBody720
1) InBodyvs DEXA
244

## Slide 245
【Representative Validation Study】_2018
DEXA(STRATOS) vs InBody S10
1) InBodyvs DEXA
245

## Slide 246
【Representative Validation Study】_2015
DEXA(Lunar)vs InBody720
1) InBodyvs DEXA
246

## Slide 247
DEXA(Hologic) vs BodyStat1500 vs InBody230
【Representative Validation Study】_2014
1) InBodyvs DEXA
247

## Slide 248
DEXA(Hologic) vs InBody4.0
【Representative Validation Study】_2012
1) InBodyvs DEXA
248

## Slide 249
DEXA(Not mentioned) vs CT
vs InBody230
【Representative Validation Study】_2010
1) InBodyvs DEXA
249

## Slide 250
DEXA(Lunar) vs InBody720
【Representative Validation Study】_2009
1) InBodyvs DEXA
250

## Slide 251
DEXA(Hologic) vs InBody720
【Representative Validation Study】_2011
1) InBodyvs DEXA
251

## Slide 252
DEXA(Hologic) vs InBody720
【Representative Validation Study】_2011
1) InBodyvs DEXA
252

## Slide 253
DEXA(Hologic) vs InBody720
【Representative Validation Study】_2011
1) InBodyvs DEXA
253

## Slide 254
1) InBodyvs CT
Country
Research
Publication
Year
Journal
Device
Subjects
Correlation
Coefficient
1
USA
Association of obstructive sleep apnea with truncal
skeletal muscle mass and density
2018
Scientific Reports
CT vs InBody S10
334 Obstructive
sleep apnea
patients
CT SMI vs BIA SMI
R=0.804
2
Korea
Comparative assessment of skeletal muscle mass
using computerized tomography and bioelectrical
impedance analysis in critically ill patients
2018
Clinical Nutrition
CT
vs InBody S10
135 ICU Patients
CT L3 SMI vs SMM
Mild edema patients
R=0.7337
Severe edema patients
R=0.6132
254

## Slide 255
1) InBodyvs CT
CT vs InBody S10
【Representative Validation Study】_2018
255

## Slide 256
1) InBodyvs CT
CT vs InBody S10
【Representative Validation Study】_2018
256

## Slide 257
InBody Validation Studies
InBody vs D
2
O
257

## Slide 258
2) InBodyvs D
2
O
Country
Research
Publication
Year
Journal
Device
Subjects
Correlation
Coefficient
1
Japan
Validation of rapid 4-component body composition
assessment with the use of dual-energy X-ray
absorptiometry and bioelectrical impedance analysis
2018
American Journal
of Clinical
Nutrition
D
2
O dilution vs
InBody S10
31 Healthy adults
Total body water
r2=0.93
2
Italy
Body water distribution in severe obesity and its
assessment from eight-polar bioelectrical impedance
analysis
2005
European Journal
of Clinical
Nutrition
D
2
O dilution,
Bromide dilution
vs InBody3.0
75 Italian Female,
18-66 years old
(non obese =25,
Obese I-II = 25,
Obese III = 25)
Total body water
r
2
=0.82
Extracellular water
r
2
=0.87
3
Italy
Accuracy of an eight-point tactile-electrode
impedance method in the assessment of total body
water
2002
European Journal
of Clinical
Nutrition
D
2
O dilution
vs InBody3.0
50 Healthy Adults,
Average age: 40
years old
Total body water
r
2
=0.81
258

## Slide 259
2) InBodyvs D
2
O
【Representative Body Water Study】_2018
D
2
O dilution vs InBody S10
259

## Slide 260
2) InBodyvs D
2
O
D
2
O dilution, Br dilution vs InBody3.0
260

## Slide 261
2) InBodyvs D
2
O
D
2
O dilution vs InBody3.0
261

## Slide 262
InBody Validation Studies
InBody vs DEXA for BMC validation
262

## Slide 263
3) InBodyvs DEXA_BMC validation
Country
Research
Publication
Year
Journal
Device
Subjects
Correlation
Coefficient
1
India
Estimation of bone mineral content from bioelectrical
impedance analysis in Indian adults aged 23-81 years:
a comparison with Dual energy X-ray absorptiometry
2012
International
Journal of
Biomedical
Engineering and
Technology
DEXA (Lunar)
vs InBody720
113 Indians,
23-81 Years old
Bone mineral
content
r = 0.9136
2
India
Single prediction equation for bioelectrical impedance
analysis in adults aged 22-59 years
2011
Journal of
Medical
Engineering &
Technology
DEXA (Lunar)
vs InBody720
64 Indians, 22-59
Years old
Bone mineral
content
r = 0.9531
263

## Slide 264
3) InBodyvs DEXA_BMC validation
DEXA(Lunar) vs InBody720
【Mineral Validation Study】_2012
264

## Slide 265
DEXA(Lunar) vs InBody720
【Mineral Validation Study】_2011
3) InBodyvs DEXA_BMC validation
265

## Slide 266
Thank you
InBody Validation Studies
266