## Overview
Body Composition Analyzer (BCA) — Master Comparison
Company | BCA Models (count) | Models | Primary source
Mediana (South Korea) | 6 | i55, i50, i35, i30, i25, i20 | MEDIANA_Total_Brochure_2025_last three pages.pdf; MEDIANA-i20-Result-Sheet.pdf
Tanita (Japan) | 9 | MC-980MA Plus, MC-780MA, MC-580, DC-430MA, DC-360, DC-240MA, DC-13C, RD-545, RD-953 | Tanita professional catalogue compressed.pdf
Accuniq / SELVAS Healthcare (South Korea) | 5 | BC720, BC380, BC310, BC300, i35 | accuniq.com Download library (catalogues/manuals)
Seca (Germany) | 3 | mBCA 514, mBCA 554, mBCA 525 | cat_med_INT_en_22_A4_low__2_.pdf (seca Catalog 2022/2023)
ImpediMed (Australia) | 1 | SOZO | PM-173-OUS-Rev-B-Product-Brief-sm.pdf
Bodystat (UK) | 5 | Multiscan 5000, Quadscan 4000, 1500MDD, 1500, 500 | bodystat.com product pages
Methodology & accuracy notes:
• Every value is transcribed directly from the manufacturer catalogue / datasheet / official website listed above; nothing is invented.
• — (em dash) means the value is NOT stated in the source document (kept blank on purpose, not guessed).
• Scope is BCA (body composition) devices only: Tanita weighing scale WB-380 and Accuniq blood-pressure monitors (BP210/BP250/BP500/BP850) are excluded.
• Tanita RD-545 / RD-953 are consumer body-composition monitors (included, marked as consumer).
• Model line-ups reflect the provided catalogues / official websites; some vendors sell additional/regional models not shown in these sources.
• ImpediMed SOZO and Bodystat Multiscan 5000 use bioimpedance spectroscopy (BIS) rather than standard multi-frequency BIA.
• Each company sheet also contains a 'Software & Applications' section (below the device table) listing that vendor's BCA software / apps and their features.
• Bodystat devices are hand-held, 4-electrode (tetra-polar) analyzers (subject lying down), not standing scales, so no weight capacity is listed.

## Mediana
MEDIANA — 6 BCA models (i20, i25, i30, i35, i50, i55). — = not specified in the source brochure. Source: MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19) + MEDIANA-i20-Result-Sheet.pdf.
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
i55 | Professional segmental BCA (10.4" touch) | Multi-frequency segmental BIA | 1, 5, 50, 250, 500, 1000 | 6 | Yes | ICW, ECW, ECW ratio, segmental body water | Yes | Phase Angle; Cellular Analysis | — | — | — | — | — | 10.4" full touch screen | — | — | — | — | iManager (PC) | Body composition analysis; segmental muscle/fat; body balance; weight control; visceral fat; abdominal fat ratio; BMR; total energy expenditure; impedance; total score | Cellular analysis; segmental body water; Phase Angle; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
i50 | Professional segmental BCA (10.4" touch) | Multi-frequency segmental BIA | 1, 5, 50, 100, 250, 500 | 6 | Yes | ICW, ECW, ECW ratio, segmental body water | Yes | Phase Angle; Cellular Analysis | — | — | — | — | — | 10.4" full touch screen | — | — | — | — | iManager (PC) | Body composition analysis; segmental muscle/fat; body balance; weight control; visceral fat; abdominal fat ratio; BMR; total energy expenditure; impedance; total score | Cellular analysis; segmental body water; Phase Angle; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
i35 | Professional segmental BCA (7" touch) | Multi-frequency segmental BIA | 5, 50, 100, 250 | 4 | Yes | Extracellular water ratio | — | — | — | — | — | — | — | 7" touch screen | — | — | — | — | iManager (PC) | Body composition analysis; segmental muscle/fat; body balance; weight control; visceral fat; abdominal fat ratio; BMR; total energy expenditure; impedance; total score | Adult/Pediatric result sheets; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
i30 | Professional segmental BCA (7" touch) | Multi-frequency segmental BIA | 5, 50, 100 | 3 | Yes | — | — | — | — | — | — | — | — | 7" touch screen | — | — | — | — | iManager (PC) | Body composition analysis; segmental muscle/fat; body balance; weight control; visceral fat; abdominal fat ratio; BMR; total energy expenditure; impedance; total score | Adult/Pediatric result sheets; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
i25 | Professional segmental BCA (4.3" touch) | Multi-frequency segmental BIA | 10, 50, 100 | 3 | Yes | — | — | — | — | — | — | — | — | 4.3" touch screen | — | — | — | — | iManager (PC) | Body composition analysis; segmental muscle/fat; body balance; weight control; visceral fat; abdominal fat ratio; BMR; total energy expenditure; impedance; total score | Adult result sheet; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
i20 | Professional segmental BCA (4.3" touch) | Dual-frequency segmental BIA | 10, 100 | 2 | Yes | — | — | — | — | — | — | — | — | 4.3" touch screen | — | — | — | — | iManager (PC) | Weight, TBW, Protein, Mineral, Body Fat, Muscle Mass, FFM, Skeletal Muscle; segmental analysis & body balance; visceral fat level; abdominal fat ratio; BMR; total energy expenditure; impedance (10/100 kHz per segment); Mediana Score; history; QR code (smartphone) | Dual-frequency (10/100 kHz); QR-code result; Multi-frequency analysis; Segmental body composition analysis; advanced high-accuracy algorithm; Blind Mode; ergonomic design; touch-screen operation; simple interface; patient data management; age-specific analysis; compact foldable design; PC software iManager | — | MEDIANA_Total_Brochure_2025_last three pages.pdf (p.18-19); MEDIANA-i20-Result-Sheet.pdf
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
iManager (PC software) | Windows PC | Convenient patient data management for body-composition results (the extent documented in the Mediana brochure). | All Mediana BCAs (i20 / i25 / i30 / i35 / i50 / i55)
QR-code smartphone viewing | Mobile (app name not specified in source) | QR code reading lets users manage and view their body-composition measurement results on a smartphone. | i20 (shown on result sheet)

## Tanita
TANITA — 9 body-composition devices (professional BCA + consumer monitors; weighing scale WB-380 excluded as it is not a BCA). — = not specified in the catalogue. Source: Tanita professional catalogue compressed.pdf (www.tanita.in).
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
MC-980MA Plus | Segmental multi-frequency BCA (medical grade, top model) | Multi-frequency BIA (segmental; foot + hand electrodes) | 1, 5, 50, 250, 500, 1000 | 6 | Yes (arms/legs/trunk) | TBW kg & %, ECW kg, ICW kg, ECW/TBW ratio | Yes (whole body + segmental) | Sarcopenia assessment (MM/H², MM/BW, SMI [ASM/H²], ASM/BW); muscle mass balance; leg muscle score | 300 | 0.1 kg | 6-99 | — | 30 s (full scan) | Color touchscreen (Windows-based) | 3 x USB | 230 V | 33 kg | 450 x 870 x 1240 | Windows OS; built-in database; barcode/NFC/FeliCa card | Weight, BMI, Body Fat %, Visceral Fat Rating, Fat Mass, FFM, Muscle Mass, Protein, TBW (kg & %), ECW kg, ICW kg, ECW/TBW, BMR (+indicator), Bone Mass, Metabolic Age, Physique Rating, SMI; segmental: body fat %/mass/rating, FFM, fat distribution, muscle mass/rating/balance, leg muscle score, reactance/resistance, phase angle | Sarcopenia assessment; segmental phase angle; 30 s full scan; multi-language touchscreen | MDD CLASS II-a, NAWI CLASS III (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
MC-780MA | Segmental multi-frequency BCA (medical grade) | Multi-frequency BIA (segmental) | 5, 50, 250 | 3 | Yes (arms/legs/trunk) | TBW kg & %, ECW kg, ICW kg, ECW/TBW ratio | Yes (whole body + segmental) | Leg muscle score | 270 | 0.1 kg | 6-99 | — | ~20 s | Interactive display console | RS232, USB, SD CARD | AC 100-240 V | 15.5 kg (pole) / 11.1 kg (separate) | P: 360 x 717 x 1165 / S: 380 x 656 x 181 | Tanita Pro Health Monitor | Weight, BMI, Body Fat %, Visceral Fat Rating, Fat Mass, FFM, Muscle Mass, Physique Rating, TBW (kg & %), ECW kg, ICW kg, ECW/TBW, Phase Angle, BMR (+indicator), Metabolic Age, Bone Mass; segmental body fat/muscle/phase angle | Pole and separate versions; ~20 s analysis; SD card | MDD CLASS II-a, NAWI CLASS III (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
MC-580 | Segmental dual-frequency portable BCA | Dual-frequency BIA (segmental) | 6.25, 50 | 2 | Yes (arms/legs/trunk) | TBW kg & % | Yes (segmental phase angle) | Goal setter; SMI | 270 | 0.1 kg | 5-99 | — | <1 min | Portable (screen not specified) | RS-232C | 9 V DC adapter / 6 V DC LR6 AA | 7.3 kg | platform 394 x 75 x 551 (detachable column) | Tanita PRO Software | Weight, Body Fat %, Fat Mass, FFM, Muscle Mass, Visceral Fat Rating, Protein, TBW (kg & %), BMR (+indicator), Bone Mass, Metabolic Age, Physique Rating, Goal Setter, SMI; segmental body fat/muscle/rating/balance, leg muscle score, impedance, reactance/resistance, phase angle | Only 7.3 kg; AA-battery outdoor use; detachable column | — (portable) | Tanita professional catalogue compressed.pdf (www.tanita.in)
DC-430MA | Dual-frequency BCA with integrated thermal printer (medical grade) | Dual-frequency BIA (whole body) | 6.25, 50 | 2 | No (whole body) | TBW kg & % | — | — | 270 | 0.1 kg | 6-99 | — | 15 s | Integrated thermal printer (display not specified) | RS232, USB, SD CARD | AC 100-240 V | 13.5 kg (pole) / 9.1 kg (separate) | P: 285 x 462 x 1078 / S: 427 x 462 x 285 | Tanita PRO Software; SD card storage | Weight, Body Fat %, Fat Mass, FFM, Muscle Mass, TBW (kg & %), Bone Mass, BMR, Metabolic Age, Visceral Fat Rating, BMI, Ideal Body Weight, Degree of Obesity, Desirable Fat %/Mass Range, Fat %/BMI/Visceral Fat/Muscle Mass/BMR indicators, Physique Rating | Integrated thermal printer; pole & separate versions | MDD CLASS II-a, NAWI CLASS III (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
DC-360 | Dual-frequency BCA with integrated thermal printer | Dual-frequency BIA (whole body) | 6.25, 50 | 2 | No (whole body) | TBW kg & % | — | — | 270 | 0.1 kg | 6-99 | — | 15 s | Integrated thermal printer (display not specified) | RS232, USB, SD CARD | AC 100-240 V | 13.5 kg (pole) / 7 kg (separate) | P: 395 x 390 x 1027 / S: 395 x 390 x 67 | Tanita PRO Software; SD card storage | Weight, Body Fat %, Fat Mass, FFM, Muscle Mass, TBW (kg & %), Bone Mass, BMR, Metabolic Age, Visceral Fat Rating, BMI, Ideal Body Weight, Degree of Obesity, Desirable Fat %/Mass Range, indicators, Physique Rating | Robust low-profile platform; integrated thermal printer | — (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
DC-240MA | Dual-frequency portable BCA (medical grade) | Dual-frequency BIA (whole body) | 5, 50 | 2 | No (whole body) | TBW % (TBW mass via software) | — | — | 200 | 0.1 kg | 5-99 | — | 15 s | On-screen results (display not specified) | USB | 9 V adapter / 6 x AA batteries | 4.7 kg | 341 x 437 x 54 | Tanita PRO Software | On-screen: Weight, Body Fat %, TBW %, BMI. Via software: Fat Mass, FFM, TBW mass, Muscle Mass, Bone Mass, Visceral Fat Rating, BMR, Metabolic Age | Lightweight 4.7 kg; AA-battery field use | MDD CLASS II-a, NAWI CLASS III (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
DC-13C | Multi-frequency hand-to-hand BCA | Multi-frequency BIA (hand-to-hand, 4 electrodes) | 6.25, 50 | 2 | No (hand-to-hand, whole body) | TBW kg & % | Yes | Sarcopenia index | 270 (spec table; intro text: 300) | 0.1 kg (100 g) | 6-99 (comparison table) | — | ~10 s | Large easy-to-read LCD (rotating display) | USB (built-in printer) | AA batteries | 12 kg | 568 x 603 x 1027 | Windows OS | Weight, BMI, Body Fat (kg & %), Visceral Fat Indicator, Fat Mass, FFM, Muscle Mass, TBW (kg & %), BMR, Metabolic Age, Physique Rating, Phase Angle, Sarcopenia Index | No need to remove shoes/socks; 3 versions (separate/pole/height rod); built-in printer; 3-yr warranty | MDD CLASS II-a, NAWI CLASS III (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
RD-545 | Dual-frequency segmental body composition monitor (consumer, smartphone) | Dual-frequency BIA (segmental) | Dual frequency (values not specified) | 2 | Yes (segmental fat/muscle/quality) | Total Body Water | — | MBA Score; muscle quality score | 200 | 0.05 kg (0-100) / 0.1 kg (100-200) | 5-99 | — | Seconds | Via app (display language English) | Bluetooth (My Tanita app) | 4 x AA batteries | 2.8 kg | 348 x 320 x 57 | TANITA HealthPlanet / My Tanita app (iOS 10+, Android 5.1+) | Weight, Body Fat % (segmental), Total Body Water, Visceral Fat Rating, Muscle Mass (segmental), Muscle Quality (segmental), Bone Mass, BMR, Metabolic Age, BMI, Segmental measurements, MBA Score, Auto Recognition, Physique Rating (20-26 readings) | Home/consumer segmental monitor; smartphone sync | — (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
RD-953 | Dual-frequency body composition monitor (consumer, smartphone) | Dual-frequency BIA (segmental) | Dual frequency (values not specified) | 2 | Yes (arms/legs/trunk) | Total Body Water | — | Muscle Quality (score 100) | 200 | 0.05 kg (0-100) / 0.1 kg (100-200) | 8-99 | — | Seconds | Via app (display language English) | Bluetooth | 4 x AA batteries | 2.1 kg | 298 x 328 x 32 | My Tanita app | Weight, Body Fat %, Total Body Water, Visceral Fat Rating, Muscle Mass, Bone Mass, BMI, Metabolic Age, BMR, Physique Rating, Muscle Quality (100), Auto Recognition | Home/consumer monitor; smartphone sync; 4 colors | — (MADE IN JAPAN) | Tanita professional catalogue compressed.pdf (www.tanita.in)
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
TANITA Pro Software | Windows PC | Data storage, trend analysis, health-risk assessments and full data management (one-stop trend analysis). | MC-580, DC-430MA, DC-360, DC-240MA
TANITA Pro Health Monitor | Windows PC | Stores all user data for comprehensive trend analysis. | MC-780MA
Built-in database (MC-980MA Plus) | Embedded Windows OS | In-built database management for research projects, client data management and health-program monitoring; USB data upload/download; barcode / NFC / FeliCa card registration. | MC-980MA Plus
HealthPlanet / My Tanita app | Mobile (iOS / Android, Bluetooth) | Review and track body-composition level anytime, anywhere; free mobile app for home/consumer monitors. | RD-545, RD-953

## Accuniq
ACCUNIQ (SELVAS Healthcare) — 5 downloadable BCA models (BC720, BC380, BC310, BC300, i35); blood-pressure monitors (BP210/BP250/BP500/BP850) excluded per BCA-only scope. Source: accuniq.com/en/support/download.php catalogue & manual PDFs.
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
BC720 | Multi-frequency segmental BCA (flagship) | BIA via tetra-polar electrode method, 8 touch electrodes | 1, 5, 50, 250, 550, 1000 | 6 | Yes (arms/legs/trunk) | TBW, ICW, ECW, ECW ratio; segmental body water; segmental ECW ratio; segmental ICW | Yes (result + history) | Research: SMI, ASMI, FFMI, FMI, TBW/FFM, BCM | 10-270 | — | 1-99 | 50-220 cm | within ~1 min | 8.4" wide color LCD (touch + keypad) | USB, RS-232C, Bluetooth (option) | AC 100-240 V (DC 12 V / 5 A / 60 W) | ~42 kg | 496 x 820 x 1150 | BC720 EN 1.0.00; ACCUNIQ Manager / Dashboard / Connect / App | Body composition (Weight, FFM, Fat Mass, Soft Lean Mass, Protein, Minerals, TBW); skeletal muscle/fat; obesity (BMI, PBF); segmental (soft lean/fat); body water (ECW ratio, ECW, ICW); history (weight, SMM, PBF, TBW, ECW ratio, phase angle); comprehensive eval (body type, biological age, BMR, TEE, obesity degree, total score); body balance; body composition chart; research (SMI, ASMI, TBW/FFM, waist, WHR, VFL, VFA, visceral/subcutaneous fat, BCM); impedance; phase angle; blood pressure | 6 frequencies incl. 1 kHz & 1000 kHz; segmental body water; phase angle; SMI/ASMI research metrics | — | accuniq.com Download library (BCA catalogue/manual PDFs)
BC380 | Multi-frequency segmental BCA | Tetra-polar electrode method, 8 touch electrodes | 5, 50, 250 | 3 | Yes (arms/legs/trunk) | Total Body Water; Extracellular Water Ratio | — | — | 10-250 | — | 1-99 | 50-220 cm (measure 100-210 cm) | ~30 s | 7" wide color LCD (touch + keypad) | 5 USB, 2 RS-232C, Wi-Fi (basic), Bluetooth (option) | AC 100-240 V (DC 12 V / 5 A / 60 W) | ~18 kg | 641 x 436 x 1029 (+ height meter 795 x 436 x 2327) | ACCUNIQ Manager / App / Remote Support | Body composition (Weight, LBM, Fat Mass, Muscle Mass, Protein, Mineral, TBW); skeletal muscle/fat; obesity (BMI, PBF, degree, abdominal circumference); abdominal obesity (WHR, VFL, VFA, visceral fat mass); cumulative change; overall eval (body type, body age, BMR, calories/day, BCM, total score); body balance; weight control targets; ECW ratio; segmental lean & fat; impedance; blood pressure (interlocked); QR code | 100,000-data storage; Wi-Fi; QR code + app; ultrasonic height & BP monitor options | — | accuniq.com Download library (BCA catalogue/manual PDFs)
BC310 | Multi-frequency BCA (desk/wall/stand) | Tetra-polar electrode method, 8 touch electrodes | 5, 50, 250 | 3 | Segmental lean mass (5 segments); whole/upper/lower body selective | TBW, ICW, ECW, ECW/TBW ratio | — | — | 10-200 | — | 1-99 | 50-220 cm | ~1 min | Mono graphic LCD | USB, RS-232C | AC 100-240 V (DC 12 V / 5 A) | ~13.5 kg (whole); 11 kg upper; 10 kg lower | head 350 x 216.5 x 123; plate 371 x 355 x 106 | ACCUNIQ Manager | Weight, Standard Weight, Lean Body Mass, TBW, ICW, ECW, BMI, Fat Mass, PBF, WHR, BMR, ECW/TBW ratio, Segmental Lean Body Mass, Impedance, Body Type, Target to Control, Goal Setter | Modes: Adult/Athlete/Wrestler/Goal Setter; built-in thermal printer; desk/wall/stand types | — | accuniq.com Download library (BCA catalogue/manual PDFs)
BC300 | Multi-frequency segmental BCA | Tetra-polar electrode method, 8 touch electrodes | 5, 50, 250 | 3 | Yes (arms/legs/trunk) | Total Body Water | — | — | 10-200 | — | 1-99 | 50-220 cm | ~1 min | 7" wide color LCD (touch) | USB | AC 100-240 V (DC 12 V / 5 A) | ~10 kg | 400 x 735 x 890 (+ height meter 400 x 845 x 2246) | ACCUNIQ Manager | Body composition (Weight, Body Water, Soft Lean Mass, FFM, Protein, Mineral, Body Fat); muscle/fat; obesity (BMI, PBF); abdominal obesity; body composition change; comprehensive eval (body type, biological age, BMR, TEE, BCM, total score); control guide; obesity assessment; segmental fat/lean mass; impedance; blood pressure (interlocked); QR code | Modes: Adult/Athlete/Wrestler/Goal Setter; thermal printer & height meter options | — | accuniq.com Download library (BCA catalogue/manual PDFs)
i35 | Multi-frequency segmental BCA (foldable/portable) | Tetra-polar electrode method, 8 point electrodes; multi-frequency | 5, 50, 100, 250 | 4 | Yes (segmental muscle/fat + body balance) | TBW, TBW/Weight, TBW/LBM, Dry Lean Mass, Extracellular Water Ratio | — | VSR (visceral-to-subcutaneous fat ratio); Total Score | 2.0-250 | 0.05 kg (50 g) | 3-99 | 60-220 cm | ~35 s | 7" (600 x 1024) color touch LCD | RS232C x1, USB type A x2, mini-USB type B x1, LAN x1 | DC adaptor (AC 100-240 V / 12 V / 5 A) | ~17.5 kg | 360 x 559 x 1077 | ACCUNIQ Manager (PC); iApp Connect (Android/iOS) | Body composition (TBW, Muscle Mass, Fat Mass, FFM, Protein, Mineral, Skeletal Muscle, Weight, Dry Lean Mass, TBW/Weight, TBW/LBM); skeletal muscle & body fat; segmental analysis; weight control (BMI, FMI, FFMI, obesity degree, desirable weight); abdominal obesity (waist circumference, abdominal fat ratio, VFA, subcutaneous fat area, VSR); intake & consumed calories (BMR, TEE, calorie consumption, target body fat, exercise intensity); Total Score; segmental impedance; ECW ratio; growth chart (children); history | Total Score; VSR; exercise guidance; blind mode; 3-fold foldable; children growth chart; QR code | — | accuniq.com Download library (BCA catalogue/manual PDFs)
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
ACCUNIQ Manager | Windows PC (free standalone software) | Client health-data management; results with healthy-range comparisons; historical comparison graphs; full-page / thermal report printing; result transfer; personalized diet & exercise recommendations; graphical UI. | All Accuniq BCAs (BC720, BC380, BC310, BC300, i35)
ACCUNIQ Dashboard | Web / cloud app (for administrators) | Manage member body-composition data; view result sheets on a tablet; history graphs of body-fat changes; trainer / center-manager account roles; multi-center management; PDF download / print / delete. | All Accuniq BCAs (cloud-connected)
ACCUNIQ Connect | Mobile app (Android / iOS) | Save results by scanning the QR code; cumulative graphs (weight, muscle, fat, body water); set goals; calorie guide (recommended daily intake & consumption); activity questionnaire; cloud sync with Dashboard. | All Accuniq BCAs (cloud-connected)
ACCUNIQ App | Mobile app (Android / iOS) | Scan the QR code on the screen / result sheet to check data, accumulated data and results on a smartphone. | BC720, BC380 (documented)
iApp Connect | Mobile app (Android / iOS) | Data integration program for the i35 (paired with ACCUNIQ Manager). | i35
ACCUNIQ Remote Support | PC remote service | Remote option setting, offset-value check / calibration and firmware recovery from a PC. | BC380 (documented)

## Seca
SECA — 3 medical BCA devices (mBCA 514, mBCA 554, mBCA 525). mBCA 554 is offered in 3 configurations (IUT/IVT/INT). Source: cat_med_INT_en_22_A4_low__2_.pdf (seca Catalog 2022/2023).
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
mBCA 514 | Medical BCA (standing) | 8-point Bioelectrical Impedance Analysis | 1, 1.5, 2, 3, 5, 7.5, 10, 15, 20, 30, 50, 75, 100, 150, 200, 300, 500, 750, 1000 | 19 | Yes (right/left arm, right/left leg, right/left half of body, torso) | TBW, ECW, ICW, Hydration (ECW/ICW ratio) | Yes (impedance, phase angle, resistance, reactance) | Scientific mode; BIVA; Body Composition Chart | 300 | 50 g (<150 kg) / 100 g | — | — | 17 s | 8.4" touchscreen, 360-degree rotatable | Ethernet; USB 2.0 | Power adapter | 36 kg | 976 x 1251 x 828 (platform 779.5 x 12 x 510) | seca analytics 115 (PC) | Fat Mass, Fat-Free Mass, FMI, FFMI, Skeletal Muscle Mass, Total Body Water, ECW, ICW, Hydration (ECW/ICW), REE, Total Energy Expenditure, BMI, Impedance (Z), Phase Angle (phi), Resistance (R), Reactance (Xc), BIVA, Body Composition Chart, Visceral Fat | Whole-body MRI + 4C-model validated; handrail with fixed handle positions; EMR-validated | EMR-validated (HL7/GDT) | cat_med_INT_en_22_A4_low__2_.pdf (seca Catalog 2022/2023)
mBCA 554 | Medical BCA (standing) with optional ultrasonic height measurement | 8-point Bioelectrical Impedance Analysis | 1, 2, 5, 10, 20, 50, 100, 200, 500 | 9 | Yes (right/left arm, right/left leg, right/left half of body, torso) | TBW, ECW, ICW, Hydration (ECW/ICW ratio) | Yes (impedance, phase angle, resistance, reactance) | BIVA; Body Composition Chart | 360 | 50 g / 0.1 lb | — | 100-220 cm (via seca 257) / 100-200 cm (seca 257 sh) | 24 s | 4.3" touchscreen, tiltable + rotatable | Wi-Fi, Ethernet; USB (barcode scanner) | Power adapter | 26.5-30.5 kg (3 configs) | 838 x 2387 x 650 / 839 x 2187 x 653 / 839 x 1280 x 653 (platform 600 x 70 x 467) | seca analytics 125 (cloud) | Fat Mass, Fat-Free Mass, FMI, FFMI, Skeletal Muscle Mass, Total Body Water, ECW, ICW, Hydration (ECW/ICW), REE, Total Energy Expenditure, BMI, Impedance (Z), Phase Angle (phi), Resistance (R), Reactance (Xc), BIVA, Body Composition Chart, Visceral Fat | 3 configurations (ON IHM IUT/IVT/INT); ultrasonic height seca 257; LED foot position guides; children's grip electrodes; requires BIA handrail seca mBCA 550 | EMR-validated (HL7/GDT) | cat_med_INT_en_22_A4_low__2_.pdf (seca Catalog 2022/2023)
mBCA 525 | Medical BCA (supine/lying position) | 8-point Bioelectrical Impedance Analysis (adhesive electrodes) | 1, 2, 5, 10, 20, 50, 100, 200, 500 | 9 | Yes (right/left arm, right/left leg, right/left half of body, torso) | TBW, ECW, ICW, Hydration (ECW/ICW ratio) | Yes (impedance, phase angle, resistance, reactance) | BIVA; Body Composition Chart | — (no scale) | — | — | — | 30 s | 7" touchscreen | Wi-Fi, Ethernet; USB 2.0 | Power adapter + rechargeable battery | 3 kg | 252 x 262 x 230 | seca analytics 115 (PC) | Fat Mass, Fat-Free Mass, FMI, FFMI, Skeletal Muscle Mass, Total Body Water, ECW, ICW, Hydration (ECW/ICW), REE, Total Energy Expenditure, BMI, Impedance (Z), Phase Angle (phi), Resistance (R), Reactance (Xc), BIVA, Body Composition Chart, Visceral Fat | Patented measuring mat for supine BIA; mobile use (rolling stand seca 475); 100,000 measurements storage; Easy Snap adhesive electrodes | EMR-validated (HL7/GDT) | cat_med_INT_en_22_A4_low__2_.pdf (seca Catalog 2022/2023)
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
seca analytics 115 | Medical PC software (Windows) | Professional evaluation of body composition; PDF reports (one or more pages); customizable findings; parameter models (nutritional status, sarcopenia); clinical graphics; trend / change visualization. | mBCA 514, mBCA 525
seca analytics 125 | Cloud-based software (web: Chrome / Edge / Mozilla / Safari) | Professional evaluation of body composition; cloud delivery; secure storage (protected from data loss and third-party access); access from home or on-the-go; continuous maintenance and updates. | mBCA 554
seca EMR integration | Integration software / service | EMR integration via HL7 / GDT (also JSON / CSV / XML); TLS-encrypted wireless connection; central gateway for device management and updates; validated for Cerner CareAware VitalsLink. | mBCA 514, mBCA 554, mBCA 525 (EMR-validated)

## ImpediMed
IMPEDIMED (Australia) — 1 BIS device: SOZO. Uses bioimpedance spectroscopy (BIS), not standard multi-frequency BIA. Em-dash cells are not stated in the product brief. Source: PM-173-OUS-Rev-B-Product-Brief-sm.pdf.
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
SOZO | Bioimpedance Spectroscopy (BIS) fluid & body-composition analyzer | Bioimpedance Spectroscopy (BIS), 8 stainless steel electrodes | 3 to 1000 (256 frequencies) | 256 | — | ECW (extracellular fluid), ICW (intracellular fluid), TBW (total body water), Hy-Dex (hydration status) | — | L-Dex (lymphoedema); Hy-Dex (hydration); heart-failure fluid monitoring | 170 kg (375 lb) | — | — | — | < 30 s (256 frequencies) | Samsung Galaxy Tab A (SM-T580) tablet | Wi-Fi (internet); cloud storage/processing | 100-240 VAC, 700 mA | 4.5 kg (device) / 11.6 kg (stand) | 129.8 x 44.5 x 64.8 cm (51.1 x 17.5 x 25.5 in) | SOZO Digital Health Platform (cloud) | Skeletal muscle mass, Fat mass, Fat-free mass, Extracellular fluid, Intracellular fluid, Total body water, Hy-Dex (hydration status), L-Dex (lymphoedema index) | Patented BIS 256-frequency spectroscopy; L-Dex lymphoedema screening; Hy-Dex hydration; step on/step off | FDA-cleared, CE-marked, ARTG listed | PM-173-OUS-Rev-B-Product-Brief-sm.pdf (ImpediMed SOZO)
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
SOZO Digital Health Platform | Cloud platform | Cloud-based data storage and processing; easy access to patient data anywhere / anytime; comprehensive data analysis and tracking; protocol-compliance analysis via enhanced reporting; L-Dex lymphoedema assessments; Hy-Dex hydration status; fluid monitoring. | SOZO

## Bodystat
BODYSTAT (UK) — 5 BIA/BIS devices (Multiscan 5000, Quadscan 4000, 1500MDD, 1500, 500). Hand-held, 4-electrode (tetra-polar) analyzers used with the subject lying down; they are NOT standing scales, so weight is entered manually. — = not stated on the product pages. Source: bodystat.com product pages.
Model | Category | BIA Method | Frequencies (kHz) | # Freq | Segmental Analysis | Body Water Analysis | Phase Angle | Sarcopenia / Advanced | Weight Capacity (kg) | Graduation | Age Range (yrs) | Height Range | Measurement Time | Display | Interfaces / Connectivity | Power Supply | Device Weight | Dimensions (W x D x H, mm) | Software / App | Key Measured Parameters | Standout Features | Accuracy / Certifications | Source
Multiscan 5000 | Bioimpedance Spectroscopy (BIS) analyzer (latest generation) | Bioelectrical Impedance Spectroscopy (BIS), tetra-polar (4 electrodes) | 5 to 1000 (50 frequencies) | 50 | No (whole body, lying down) | TBW, ECW, ICW, Overhydration (OHY) in litres | Yes (across 50 frequencies) | Sarcopenia (ASMM); cachexia; lymphoedema; renal-dialysis OHY; BIVA; Cole-Cole plot; Prediction Marker | — (not a scale; weight entered manually) | — | Children & adults (auto equation) | — | 50 frequencies in 2 s | Colour touch screen | Bluetooth; HL7; wireless charging | Battery (up to 16 h) | — (hand-held portable) | — (hand-held portable) | Bodystat software (Windows, optional); remote software support | Body Fat %/Fat Mass, Lean Mass %/Lean Weight, Dry Lean Weight, SMM*, BCM*, TBW (% & litres), ECW*, ICW*, Overhydration OHY*, Nutrition Index, BMR*, BMR/BW*, Avg Daily Calorie*, BMI, BFMI, FFMI, WHR, Prediction Marker, Impedance/Resistance/Reactance/Phase Angle (50 freqs, 5-1000 kHz), BIVA, Cole-Cole Plot, Cell Membrane Capacitance*, Characteristic Frequency* | 50-frequency BIS in 2 s; fluid-overload (OHY) in litres; 1,000-measurement storage; HL7; wireless charging | CE 1639 (MDD), FDA, ISO 13485 | bodystat.com product pages (Multiscan 5000 / Quadscan 4000 / 1500MDD / 1500 / 500)
Quadscan 4000 | Multi-frequency BIA analyzer (4 frequencies) | BIA, tetra-polar (4 electrodes, Bodystat 0515) | 5, 50, 100, 200 | 4 | No (whole body, lying down) | ECW, ICW, TBW, 3rd Space Water, ECW/TBW ratio | Yes (50 kHz) | Prediction Marker; Nutrition Index; lymphoedema monitoring | — (not a scale) | — | Children & adults (auto equation) | — | 1 s (results in seconds) | Colour touch screen | Bluetooth (optional thermal printer) | Battery-powered | — (hand-held portable) | — | Bodystat software (Windows, optional) | ECW %/volume*, ICW %/volume*, TBW %/volume*, 3rd Space Water*, BCM*, ECW/TBW, Nutrition Index*, Body Fat %/Fat Weight*, Lean Mass*, Dry Lean Mass*, BMR*, BMR/Total Weight, Avg Daily Calorie*, Waist/Hip Ratio, BMI, BFMI*, FFMI*, Prediction Marker, Impedance (5/50/100/200 kHz), Resistance 50 kHz, Reactance 50 kHz, Phase Angle 50 kHz | Raw data at 4 frequencies; Prediction Marker; optional Bluetooth thermal printer | CE 1639 (MDD), FDA, ISO 13485 | bodystat.com product pages (Multiscan 5000 / Quadscan 4000 / 1500MDD / 1500 / 500)
1500MDD | Dual-frequency BIA analyzer (cellular health & nutrition) | BIA, tetra-polar (4 electrodes, Bodystat 0515) | 5, 50 | 2 | No (whole body, lying down) | Body Water %/litres, ECW %/Volume, ICW %/Volume | Yes (50 kHz, direct measurement) | Wellness Marker (Impedance Ratio) | — (not a scale) | — | Children & adults (auto equation) | — | 1 s (results in ~5 s) | Colour touch screen | USB (download); Bluetooth printer | Battery-powered | — (hand-held) | — | Bodystat software (Windows, optional) | Body Fat %/Fat Weight, Lean Mass %/Lean Weight, Body Water %/litres, ECW %/Volume, ICW %/Volume, Dry Lean Mass, BMR, BMR/BW*, Avg Daily Calorie*, BMI, BFMI*, FFMI*, Wellness Marker, Impedance (5 & 50 kHz), Resistance 50 kHz, Reactance 50 kHz, Phase Angle 50 kHz | Wellness Marker (unique); Phase Angle as a direct measurement | CE 1639 (MDD), FDA, ISO 13485 | bodystat.com product pages (Multiscan 5000 / Quadscan 4000 / 1500MDD / 1500 / 500)
1500 | Single-frequency BIA analyzer (body composition & hydration) | BIA, tetra-polar (4 electrodes, Bodystat 0515) | 50 | 1 | No (whole body, lying down) | Water % / Total Body Water | — | — | — (not a scale) | — | — (no children/adult auto equation) | — | 1 s | Colour touch screen | USB (download); Bluetooth printer | Battery-powered | — (pocket-sized) | — (pocket-sized) | Bodystat software (Windows, optional); Bodystat App | Body Fat %/Fat Weight, Mass %/Lean Weight, Water %/TBW, Dry Lean Weight, BMR*, BMR/BW, Avg Daily Calorie*, BMI, Waist/Hip Ratio, Impedance at 50 kHz | Pocket-sized; USB download; Bluetooth printer; App viewing | CE 1639 (MDD), FDA, ISO 13485 | bodystat.com product pages (Multiscan 5000 / Quadscan 4000 / 1500MDD / 1500 / 500)
500 | Single-frequency BIA raw-data device | BIA, tetra-polar (4 electrodes, Bodystat 0515) | 50 | 1 | No (any body segment, raw data) | — (raw data only) | Yes (raw Phase Angle) | Raw data for published equations | — (not a scale) | — | — (independent of age/gender/height/weight) | — | 1 s | Colour touch screen | — (optional software download) | Battery-powered | — (pocket-sized) | — (pocket-sized) | Optional Windows software (English) | Impedance, Resistance, Reactance, Phase Angle at 50 kHz (raw data) | Raw data only; no input data required; used with validated published equations | CE 1639 (MDD), FDA, ISO 13485 | bodystat.com product pages (Multiscan 5000 / Quadscan 4000 / 1500MDD / 1500 / 500)
SOFTWARE & APPLICATIONS
Software / App | Type / Platform | Key Features | Compatible BCA Models
Body Manager 1500 | Windows PC (optional extra) | Summary Lite Report; Body Composition Professional Report; Health Report (Cardiac Risk); Weight Loss Report; Physiology Report; trending reports. | Bodystat 1500
Body Manager 1500 (Touch) | Windows PC (separate / Deluxe Pack bundle) | USB connectivity (cable included); instant download; Body Composition Simplified & Professional Reports; Health Report (Cardiac Risk); Weight Loss Report; Physiology Report; trending reports & graphs. | Bodystat 1500 Touch
Body Manager Pro | Windows PC (included) | Body Composition Professional Report; Body Composition Simplified Report; Hydration Report; Health Report (Cardiac Risk); Weight Loss Report; Physiology Report; trending. | Bodystat 1500MDD
Body Manager Platinum | Windows PC (included) | Body Composition Professional Report; Hydration Report; Health Report (Cardiac Risk); Weight Loss Report; Physiology Report; Advanced Report; BIVA (Bioelectrical Impedance Vector Analysis); trending graphs. | Quadscan 4000
BIAS BIS Software | Windows PC (included) | Body Composition Professional Report; Hydration Report; Health Report (Cardiac Risk); Weight Loss Report; Physiology Report; Advanced Report (BIVA); Open Research; Advanced Trend; trending graphs. | Multiscan 5000
Bodystat Windows Software (common) | Windows 10 PC | Graphs & trend tracking; email reports (PDF, XLS, XLSX, CSV, MHT, HTML, text, image, XPS); custom company logo/name/contact; export to Excel/XML/CSV; Framingham Cardiac Risk chart; goal weight & timeline; group filter; key-in physiological measures (heart rate, glucose, cholesterol, grip strength, lung function); English, French, German, Portuguese, Czech, Spanish, Polish, Mandarin. | All Bodystat devices
Bodystat App | Mobile | View measurement results on a smartphone. | Bodystat 1500 (documented)
Remote software support | Remote / cloud service | Version updates and system diagnostics. | Multiscan 5000